Section Cover Page

Section 03 30 00 2019-06-05 Cast-In-Place Concrete

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Province’s policy on LEED, or .2 the Province has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify materials, accessories and finishing for Large Scope (e.g. more than $ 25,000) cast-in-place concrete work except:

.1	Concrete sidewalks, driveways, aprons, pads, curbs and gutters, specified in Section 32 13 13 - Concrete Paving, Curbs and Gutters.

.2	Concrete for street light bases, car plug-in posts, guard posts, etc., specified in Section 32 17 10 - Road and Parking Appurtenances.

.3	Use Section 03 30 10 – Cast-in-Place Concrete (Short Form) for Small Scope (less than $ 25,000) cast-in-place concrete work.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Green Building Notes

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Definitions

1.3	Reference Documents

1.4	Submittals

1.5	Quality Assurance

1.6	Delivery, Storage and Handling

2.	Products

2.1	Concrete Materials

2.2	Concrete Accessories

2.3	Mix

3.	Execution

3.1	Preparation

3.2	Sleeves and Inserts

3.3	Anchor Bolts and Base Plates

3.4	Dovetail Anchor Slots

3.5	Waterstops

3.6	Dampproof Membrane

3.7	Joint Fillers

3.8	Placing Concrete

3.9	Curing

3.10	Placing – Mass Concrete

3.11	Curing – Mass Concrete

3.12	Loading of Structure

3.13	Finishing and Treatment of Slab or Floor Surfaces

3.14	Bull Floating

3.15	Mechanical Floating

3.16	Trowelling

3.17	Textured Surfaces

3.18	Toppings

3.19	Finishing Formed Surfaces

3.20	Grout

3.21	Equipment Pads

3.22	Slabs on Fill

3.23	Concrete Mix Schedule

Green Building Notes:

If the project is not designated to use a sustainable rating system it is still be prudent to leave in relevant green building requirements as part of an effort towards sustainability.

Review and incorporate requirements from the following documents into the project:

Section 1.0 “Sustainability” and “Appendix G – Green Building Standards” of the “Technical Design Requirements for Alberta Infrastructure Facilities”

http://www.infrastructure.alberta.ca/doctype486/TechDesignRequirements.pdf

LEED Specific Documents (if required):

LEED Project Delivery Process Manual

http://www.infrastructure.alberta.ca/Content/docType486/Production/LEED_PD_Manual.pdf

LEED Project Delivery Process Manual – Appendices

http://www.infrastructure.alberta.ca/Content/docType486/Production/LEED_PD_Appendices.pdf

All documents can be found on Infrastructure’s Technical Resource Centre, Guidelines and Standards page:   http://www.infrastructure.alberta.ca/992.htm

1.	General

1.1	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16].

.2	[LEED Requirements	Section 01 35 18].

.3	[Environmental Procedures	Section 01 35 20].

.4	Waste Management and Disposal	Section 01 74 19.

.5	Cast-in-place concrete piles:	Section 31 62 13.

.6	Concrete inspection and testing:	Section 03 05 05.

.7	Concrete forms and accessories:	Section 03 11 00.

.8	Concrete Reinforcement:	Section 03 20 00.

.9	Precast concrete panels:	Section [             ].

.10	Precast concrete:	Section [             ].

.11	Concrete floor finishes:	Section 03 35 10.

.12	Underslab Vapour Barrier:	Section 03 15 19.

  - definitions

.1	Mass Concrete:  Any volume of concrete in which a combination of dimensions of the member being cast, the boundary conditions, the characteristics of the concrete mixture, and the ambient conditions can lead to undesirable thermal stresses, cracking, deleterious chemical reactions, or reduction in the long-term strength as a result of elevated concrete temperature due to heat of hydration; or any placement of normal structural concrete that has a minimum thickness of 1000 mm or greater.

  - REFERENCE DOCUMENTS

SPEC NOTE: Latest versions of the following standards to be used

SPEC NOTE: Edit this article to include only standards required to suit the project.

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM C109/C109M-16a | Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or 50-mm Cube Specimens). |
| --- | --- | --- |
| .2 | ASTM C295/C295M-12 | Standard Guide for Petrographic Examination of Aggregates for Concrete |
| .3 | ASTM C309-11 | Standard Specification for Liquid Membrane-Forming Compounds for Curing Concrete. |
| .4 | ASTM C330/C330M-17a | Standard Specification for Lightweight Aggregates for Structural Concrete. |
| .5 | ASTM C332-17 | Standard Specification for Lightweight Aggregates for Insulating Concrete. |
| .6 | ASTM C618-15 | Standard Specification for Coal Fly Ash and Raw or Calcined Natural Pozzolan for Use in Concrete. |
| .7 | ASTM C827/C827M-16 | Standard Test Method for Change in Height at Early Ages of Cylindrical Specimens from Cementitious Mixtures. |
| .8 | ASTM C939/C939M-16a | Standard Test Method for Flow of Grout for Preplaced-Aggregate Concrete (Flow Cone Method). |
| .9 | ASTM D412-16 | Standard Test Methods for Vulcanized Rubber and Thermoplastic Rubbers and Thermoplastic Elastomers-Tension. |
| .10 | ASTM D624-00 (2012) | Standard Test Method for Tear Strength of Conventional Vulcanized Rubber and Thermoplastic Elastomers. |
| .11 | ASTM D1751-04 (2013)e1 | Standard Specification for Preformed Expansion Joint Filler for Concrete Paving and Structural Construction (Nonextruding and Resilient Bituminous Types). |
| .12 | ASTM D1752-04a (2013) | Standard Specification for Preformed Sponge Rubber Cork and Recycled PVC Expansion Joint Fillers for Concrete Paving and Structural Construction. |

.2	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.3	Canadian General Standards Board (CGSB):

| .1 | CAN/CGSB 37.2-M88 | Emulsified Asphalt, Mineral-Colloid Type, Unfilled, for Dampproofing and Waterproofing, and for Roof Coatings. |
| --- | --- | --- |
| .2 | CAN/CGSB-51.34-M86 | Vapour Barrier, Polyethylene Sheet for Use in Building Construction. |
| .3 | CGSB 81-GP-1M-77 | Flooring, Conductive and Spark Resistant. |

.4	Canadian Standards Association (CSA):

| .1 | CSA A23.1-14 | Concrete Materials and Methods of Concrete Construction. |
| --- | --- | --- |
| .2 | CSA A23.2-14 | Test Methods and Standard Practices for Concrete. |
| .3 | CSA A23.3-14 | Design of Concrete Structures. |
| .4 | CAN/CSA A3000-13 | Cementitious Materials Compendium (Consists of A3001, A3002, A3003, A3004 and A3005). |
| .5 | CSA CAN3 A266.1-M78 | Air-Entraining Admixtures for Concrete. |
| .6 | CSA CAN3 A266.2-M78 | Chemical Admixtures for Concrete. |

1.4	submittals

.1	Test and Evaluation Reports:

.1	Testing shall conform to CSA A23.2

.2	Concrete work may be tested by a testing firm retained by the Province.

.3	Submit the following to the testing firm:

.1	Results of petrographic examination of aggregates to ASTM C295/C295M, representative of aggregates to be supplied for project.

.2	Samples of fine and coarse aggregate.

.3	Proposed concrete mix design.

.4	Provide casual labour to the testing firm's field personnel for the purpose of obtaining and handling sample materials.

.5	Advise testing firm in advance of concrete placement.

.6	Provide and maintain facilities at the site for storage of concrete test cylinders for the first 24 hours.

.7	Provide copies of mill test reports of cement as required.

.8	Secure sufficient three and seven day cylinders for testing by concrete supplier to ensure concrete quality control.

.9	Provide at least one cube test, to ASTM C109/C109M, on grout used under base plates and machinery.

.10	Conduct core tests when required.

.11	Refer to Section 03 05 05 for the Quality Assurance Materials Testing carried out by a Testing firm/s retained by the Province.  The Contractor shall facilitate the testing by the Province’s appointed Testing firm.

.12	Testing firm personnel are not authorized to revoke, relax, enlarge or release any requirements of the specification, nor to accept or reject any portion of the work.

.13	Contractor may arrange and pay for additional tests for use as evidence to expedite construction.

.2	Mix Design:

.1	Submit [five (5)] copies of design mixes for each concrete mix required for the project, signed and sealed by Delegated Design Professional Engineer; design mix will be distributed to [the Consultant], [the Province], [the Design-Builder], [the Engineer of Record], and [the Testing Agency].

.3	Contractor’s Quality Plan:

.1	Submit Quality Plan to [Design-Builder] in accordance with CSA A23.1.

.4	Thermal Control Plan (for Mass Concrete only):  The Contractor shall submit a Thermal Control Plan to the Consultant for review along with the Mix Design for Mass Concrete.  The Thermal Control Plan is to list measures to ensure that the temperature limits specified for the concrete will not be exceeded.  The thermal control plan shall include the following items:

  - Concrete mix design for Mass Concrete.

  - Upper limit for concrete temperature at time of placement.

  - Description of specific measures and equipment that will be used to ensure that (a) maximum temperature in placement will not exceed specified maximum temperature limit, and (b) temperature difference will not exceed specified temperature difference limit.

  - Calculated maximum temperature in placement based on expected conditions at time of placement and use of proposed measures to control temperatures.

  - Description of equipment and procedures that will be used to monitor and log temperatures and temperature differences.

  - Drawing with location for temperature sensors in placement.

  - Description of format and frequency of providing temperature data.

  - Description of measures to address and reduce excessive temperatures and temperature differences, if they occur.

  - Description of curing procedures, including materials and methods, and curing duration.

Spec Note:  The thermal control measures that may be implemented for Mass Concrete include:

      - Use of a low-heat cement for the mix design.

      - Incorporate fly ash in the mix design.

      - Precool the concrete prior to placement by use of chilled water and cooled aggregate.  Shaved ice may be included in the mix provided that it is considered in the water-cementitious materials (W/C) ratio calculation and does not exceed the maximum W/C ratio specified for the class of concrete.

      - Limit the height of the lift during concrete placement to [1500 mm].

      - Insulate the formwork and the top surface of the element being cast.  Place additional insulation at the edges and corners where heat loss after placement is more rapid.  The insulation may consist of plastic-coated quilts, expanded polystyrene sheets or softboard.

      - Monitor the temperature differential of the concrete with plastic-sheathed thermocouples that are installed at the centre of the element and at the exterior surface.  Provide a minimum of [4] thermocouples for each element.

      - Maintain the insulation until the temperature difference between the core and the exterior surface is reduced to [10°C].

.5	Sustainable Design Submittals:

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.1	LEED Submittals: submit LEED submittal forms for Credits MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation including mix design identifying percent of recycled material used in the concrete.

1.5	quality assurance

.1	Cast-in-place concrete to conform to CSA A23.1 [These standards shall be available in Contractor’s site office for use of Contractor, Consultant, and the Province.]

.2	Failure to comply with the requirements that control strength and durability will result in the structure being considered potentially deficient.

.3	A structure will be considered potentially deficient when:

.1	Concrete used is not as specified in Concrete Mix Schedule.

.2	Concrete strength test result falls below fc’ by more than 3.5 MPa for concrete with specified fc’ of 35 MPa or less, or by more than 0.10 fc’ for specified fc’ greater than 35 MPa.

.3	Reinforcing steel size, quantity, position, quality or arrangement is not as specified or detailed.

.4	Improper curing methods or materials are used.

.5	There has been inadequate protection of concrete from extremes of temperature during early stages of curing and strength development.

.6	There has been mechanical injury from fire, construction overload or premature removal of forms.

.7	Poor workmanship is determined.

.8	The Consultant has not inspected and approved formwork and reinforcement before concrete placement.

.9	Concrete differs from the required dimensions.

.4	Concrete not conforming to the lines, detail, strength, and grade specified herein or as shown on drawings shall be modified or replaced at the Contractor’s expense.

SPEC NOTE: Specify sample panel if special exposed finishes/coloured concrete are required.

.5	Mock Up:

.1	Cast a sample panel for [special formed exposed concrete finish] [coloured concrete], sized [        ] m x [         ] m, located as directed by the Consultant.

.2	Obtain acceptance of resultant concrete [surface finish] [colour] prior to placing or finishing subsequent concrete.

.3	Accepted concrete [surface] [colour] of the sample panel shall be the standard of quality required for the finished work, and shall remain exposed to view for duration of concrete work.

.4	Sample panel [shall be incorporated into the work] [shall not be incorporated into the work and shall be removed when directed by the Consultant].

1.6	delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 - Management and Disposal.

2.	Products

  - CONCRETE MATERIALS

SPEC NOTE: Supplementary cementing materials and cementitious hydraulic slag will affect properties of plastic and hardened concrete and hence their use shall be properly evaluated before specifying.

.1	Portland Cement, Supplementary Cementing Materials, [Cementitious Hydraulic Slag]:  to CAN/CSA A3000.

.2	Aggregates:  to CSA A23.1 and as follows.

.1	Coarse aggregate to be [normal] [low] [high] density.

.2	Aggregates used in concrete shall be obtained from the same sources and have the same size range as aggregates used in trial mix design or submitted field test records.

SPEC NOTE:  Delete ironstone content limitation if not applicable.

.3	Ironstone content of aggregates in exposed interior or exterior concrete subject to intermittent or continuous wetting shall not exceed the following, when tested to ASTM C295/C295M:

.1	Coarse Aggregate:  maximum 1% by mass.

.2	Fine Aggregate Retained on 2.5 mm Sieve:  maximum 1.5% by mass.

.4	Ensure that no aggregates are used which may undergo volume change due to alkali reactivity, moisture retention or other causes.  Confirm suitability of aggregate with a petrographic analysis if deemed necessary by the Consultant.

.3	Water:  potable, to CSA A23.1.

.4	Lightweight Aggregates For Structural Lightweight Concrete:  Fine and coarse lightweight aggregates shall conform to ASTM C330/C330M, [     ] mm to [     ] mm aggregate size.

SPEC NOTE: Group I includes expanded products such as perlite or vermiculite. Group II includes expanded, calcined or sintered products such as blast-furnace slag, fly ash, shale, etc. and natural aggregates such as processed pumice scoria and tuff.

.5	Low Density [Lightweight] Aggregates For Insulating Concrete:  to CSA A23.1 and ASTM C332 [group I] [group II], [     ] mm to [     ] mm aggregate size.

.6	Admixtures: to CSA-A23.1. The Consultant to approve accelerating or set retarding admixtures during cold and hot weather placing.

.1	Air Entrainment: conforming to CSA CAN3 A266.1.

.2	Chemical: conforming to CSA CAN3 A266.2; [water reducing, strength   increasing type] [WN-normal setting] [WR-set retarding] [set retarding Type [R] [RX] [accelerating Type AC] [strength increasing type] [SN-normal setting] [SR-set retarding] [Superplasticizing].

.3	Pozzolanic Mineral:  conforming to CSA A3000, Type [N-raw or calcined] [F-flyash] [C-flyash].

2.2	CONCRETE ACCESSORIES

.1	Curing Compound:  CSA A23.1 [white] [clear] and to ASTM C309, [Type 1 – Chlorinated rubber] [Type 1-D with fugitive dye].

.2	Shrinkage Compensating Grout: premixed compound consisting of [metallic] [non-metallic] aggregate, [Portland] cement, water reducing and plasticizing agents. Compressive strength of 16 MPa at 24 hours and [50] [  ]MPa at [28] [  ]days.

.1	Consistency: as follows:

.1	Fluid: to ASTM C827/C827M. Time of efflux through flow cone (ASTM C939/C939M), under 30 seconds.

.2	Flowable: to ASTM C827C827M. Flow table, 5 drops in 3 seconds, (ASTM C109/C109M, applicable portions) 125 to145 %.

.3	Plastic: to ASTM C827/C827M. Flow table, 5 drops in 3 seconds, (ASTM C109/C109M, applicable portions) 100 to125 %.

.4	Dry pack to manufacturer’s requirements.

.2	Net shrinkage at [28] days: maximum [        ]%.

.3	Bonding Agent:  high polymer resin emulsion, mixed with cement mortar or grout to form a water resistant adhesive bond.

SPEC NOTE: Provide the acceptable characteristics for ribbed waterstops from manufacturer’s literature.

.4	Ribbed Waterstops:  extruded polyvinylchloride, [Arctic Grade,] of sizes indicated [, with shop welded corner and intersecting pieces with legs not less than [    ] mm long, and the following properties:

.1	Tensile Strength: to ASTM D412, method A, Die “C”, minimum [     ] MPa.

.2	Elongation: to ASTM D412, method A, Die “C”, minimum 275%.

.3 	Tear Resistance: to ASTM D624, method A, Die “B”, minimum [      ] kN/m.

.5	Dampproof Membrane [, Reinforced]:  [150 micrometre polyethylene film to CAN/CGSB-51.34] [two [.05] [.10] [.75] mm thick polyethylene films bonded each side of asphalt treated crepe kraft paper.]

.6	Polyethylene film: [10] [15] mil thickness to CAN/CGSB-51.34.

.7	Dampproofing, emulsified asphalt, mineral colloid type: to CAN/CGSB-37.2 [, and to Section 07 11 13 – Bituminous Dampproofing].

.8	Premoulded Joint Fillers: [bituminous impregnated fiberboard to ASTM D1751,] [sponge rubber to ASTM D1572, Type I, [flexible] [firm] grade,] [[standard] [self-expanding] cork to ASTM D1752, Type [II] [III],] 12 mm thickness x required width.

.9	Dovetail Anchor slots: minimum 0.6 mm thick galvanized steel with insulated slots.

.10	Non-Ferrous Grout: pre-mixed, non-shrink, minimum 35 MPa compressive strength.

2.3	MIX

.1	Supply concrete mix proportioned to produce concrete specified in Concrete Mix Schedule.

.2	Requirements not specified in Schedule shall conform to CSA A23.1.

.3	Use of admixtures, other than air-entraining admixtures, are not permitted without prior approval of the Consultant.

SPEC NOTE on use of Fly Ash:

- Fly ash makes the concrete more workable, less permeable and it lowers the hydration temperature of concrete.  Concrete made with fly ash requires less mix water and bleeds less than Portland cement concrete.

- Fly Ash in the concrete mix is reported to have a retarding effect on the setting time, typically of about 1 hour.  Only initial setting is delayed, the time interval between the initial setting and final stiffening of concrete is unaffected.

- Fly Ash should not be used in concrete subject to saturated freeze-thaw cycles or deicing chemicals.

- Limit Fly Ash content to a maximum of 6% of mass of cementitious materials if a dense, hard finish is required on concrete floors to be achieved by grinding and polishing.

- Cold weather pours – may not be appropriate for fly ash concrete when early strength is needed.

- Caution:  Decorative concrete color charts are based upon mixing the color with gray Portland cement concrete.  Because fly ash concrete is a bit different in color than straight Portland cement concrete (fly ash concrete is often beige rather than gray), color charts will not be completely accurate.  For this reason, when using colored concrete in a project, specify that the contractor shall make a mock-up sample with the same concrete mix to be used on the actual job.  Also, use caution when specifying it for face mixes of architectural or precast concrete due to the effect on color and uniformity of appearance.

- Specify required strength at 56 days to account for slower strength gain.  Provide strength requirements for form removal, and specify seven (7) days of curing minimum.

.4	[The use of fly ash is not permitted.]

OR

.4	Fly ash up to a maximum of [40%] [    %] of the total cement content may be used for concrete placed at the following locations:

.1	Piles/Footings:  [40%] [    %],

.2	Grade Beams:  [30%]

.3	Walls/Columns:  [25%] [    %],

.4	Slabs: [20%] [6%],

.5	Toppings:  [15%] [    %],

.6	Pre-cast or Pre-stressed:  [0% in face mix] [maximum 15% in backing mix].

.5	Superplasticizers shall be used in strict accordance with the recommendations of the manufacturer.  Concrete slump after superplasticizing shall not exceed 200 mm.

.6	All admixtures are subject to Consultant’s approval.  List all proposed admixtures in mix design submission.  Do not change or add admixtures to approved design mixes without the Consultant’s approval.

.7	Mass Concrete: Prepare concrete mix to satisfy requirements of CSA A23.1 to limit internal core and surface temperature differential for mass concrete elements to within 20°C, including:

.1	Controlling heat of hydration by reducing cementing materials content.

.2	Using cementing materials with low heat of hydration properties, including supplementary cementing materials.

.3	Providing chilled concrete mix through use of chilled water, ice as part of mixing water, or liquid nitrogen.

3.	Execution

  - preparation

.1	Obtain the Consultant’s approval before placing concrete.  Provide the Province’s Testing Agency [24] [       ] hours notice prior to placing concrete.

.2	Coordinate placement of [waterstops,] [inserts] [and] joint devices with erection of concrete formwork  and formwork accessories.

.3	Pumping of concrete [will not be permitted] [is permitted only after approval of equipment and mix].

.4	Ensure reinforcement and inserts are not disturbed during concrete placement.

.5	Prior to placing concrete obtain the Consultant’s approval of method for protection of concrete during placing and curing [in adverse weather].

.6 	Maintain accurate records of poured concrete items to indicate date, location of pour, quality of concrete, ambient air temperature and test samples taken.

.7	Clean previously placed concrete with steel brush.  Use acid if necessary.  Mix and brush on bonding agent in accordance with manufacturer's instructions.

.8	In locations where new concrete is dowelled into existing work, drill holes into existing work. Place [deformed] steel dowels and pack solid with [shrinkage compensating grout] [epoxy grout] to anchor and hold dowels in place as indicated.

.9	Do no place load upon new concrete until authorized by the Consultant.

  - Sleeves and inserts

.1	No sleeves, ducts, pipes or other openings shall pass through joists, beams, column capitals or columns, except where indicated or approved by the Consultant.

.2	Where approved by the Consultant, set sleeves, ties, pipe hangers and other inserts and openings as indicated or specified elsewhere. Sleeves and openings greater than 100 x 100 mm not indicated, must be approved by the Consultant.

.3	Do not cut, bend, eliminate or displace reinforcement to accommodate hardware. If inserts cannot be located as specified, obtain approval of modifications from the Consultant before placing of concrete.

.4	Check locations and sizes of sleeves and openings shown on drawings.

.5	Set special inserts for strength testing as indicated and as required by non-destructive method of testing concrete.

.6	Conduit and pipe embedded in concrete shall:

.1	Not displace more than 4% of the cross sectional area of a column, including the area of concrete displaced by the bending of the conduit, or the exit path of the conduit out of the column.

.2	Not exceed one-third of the solid portion of the slab thickness.

.3	Not be spaced closer than three diameters on centre.

.4	Have a minimum concrete cover of 25 mm.

  - Anchor bolts and base plates

.1	Set anchor bolts to templates under supervision of appropriate trade prior to placing concrete.

.2	With approval of the Consultant, grout anchor bolts in preformed holes or holes drilled after concrete has set. Formed holes to be minimum [100] [   ]mm in diameter. Drilled holes to be [minimum [25] [  ] mm larger in diameter than bolts used] [to manufacturer’s recommendations].

.3	Protect anchor bolt holes from water accumulations, snow and ice build-ups.

.4	Set bolts and fill holes with [shrinkage compensating grout] [epoxy grout].

.5	Locate anchor bolts used in connection with expansion shoes, rollers and rockers with due regard to ambient temperature at time of erection.

.6	Grout under base plates [and machinery] using procedures in accordance with manufacturer’s recommendations which result in [100]% contact over grouted area.

  - Dovetail anchor slots

.1	Install continuous vertical anchor slot to forms where masonry abuts concrete wall or columns.

.2	Install continuous vertical anchor slots at [800] mm on center where concrete walls are masonry faced.

  - Waterstops

.1	Install waterstops to provide continuous water seal. Do not distort or pierce waterstop in any way to hamper performance.

.2	Do not displace reinforcement or inserts when installing waterstops.

.3	Use equipment to manufacturer’s requirements to field splice waterstops. Tie waterstops rigidly in place.

.4	Use only straight heat sealed butt joints in field. Use factory corners and intersections unless otherwise approved by the Consultant.

  - Dampproof membrane

.1	Install dampproof membrane on prepared sub-grade under concrete slabs-on-grade inside building.

.2	Lap dampproof membrane minimum [150] mm at joints and seal as recommended by manufacturer.

.3	Seal punctures in dampproof membrane before placing concrete. Use patching material at least [150] mm larger than puncture and seal.

  - Joint Fillers

.1	Furnish filler for each joint in 2 pieces for depth and width required for joint. Top piece to be sized to provide 12 mm from top of slab to portion of joint filler to remain.

.2	Fasten abutting pieces of joint filler and hold to shape by stapling or other positive fastening.

.3	Locate and form [isolation] [construction] [expansion] joints as indicated. Install joint filler.

.4	Remove upper portion of joint filler after slab has hardened to a point where removal will not damage slab edges.

  - PLACING CONCRETE

.1	Perform cast-in-place concrete work in accordance with CSA A23.1.

.2	Revise, re-seat and correct improperly positioned reinforcing, immediately before placing concrete.

.3	Place concrete as a continuous operation stopping only at construction joints indicated on the drawings or as follows:  At center of span of suspended slabs, beams and joists; in walls and columns immediately above or below floor construction; at center of steel beam that supports concrete slab.

.4	Construction joints at center of span of suspended slabs beams and joists shall be adequately doweled and keyed.

.5	Place floor slabs on grade as one continuous pour between construction joints indicated on drawings. Control joints for each pour shall be formed by sawing a continuous 1/4 slab depth slot at 6 m centers each way unless otherwise indicated on drawings. Sawing shall be done as soon as the concrete has sufficiently hardened to prevent raveling of the edges but in no case later than 18 hours after the concrete slab has been placed.

.6	Isolate slabs on grade from vertical concrete using pre-moulded joint fillers extending from bottom of slab to within 12 mm of slab surface unless otherwise indicated.

.7	When the air temperature is at or below 5°C, or when there is a probability of its falling below 5°C within 24 hours of placing, use cold weather concreting methods in accordance with CSA A23.1.

.8	When the ambient air temperature is at or above 27°C, or when there is a probability of its rising to 27°C during the placing period, use hot weather concreting methods in accordance with CSA A23.1.

.9	Provide a camber of 0.02% of span for beams unless noted otherwise on drawings.

.10	Provide a camber of 0.01% of span for joists and slabs spanning over 3 m unless noted otherwise on drawings.

.11	Use procedures noted in CSA A23.1 to remove excess bleed water. Ensure surfaces are not damaged.

.12	Vibrate concrete using the appropriate size equipment as placing proceeds in strict accordance with Clause 19.5 of CSA A23.1.  Check frequency and amplitude of vibrations prior to use.  Provide additional standby vibrators in the event of equipment failure.

.13	In locations where new concrete is dowelled to existing work, drill holes in existing concrete, insert steel dowels and pack solidly with non-shrink grout.

.14	Do not place concrete if carbon monoxide producing equipment has been in operation in the building during the 12 hours preceding the pour.  This equipment shall not be used during placing, or for 24 hours after placing.  During placing and curing concrete, surfaces shall be protected by formwork or by an impermeable membrane from direct exposure to carbon dioxide, combustion gases or drying from heaters.

.15	Honeycomb or embedded debris in concrete is not acceptable.

.16	Remove and replace defective concrete.

.17	Provide shrinkage strips as indicated on drawings. Splice all reinforcing within shrinkage strip width. Reinforcement continuous through strip is not permitted. Place concrete in shrinkage strip after all following conditions are met:

.1	Concrete on either side of shrinkage strip to have cured a minimum of [60] days, unless noted otherwise on drawings.

.2	Temperature of concrete slab on either side of shrinkage strip being closed has reached a sustainable minimum temperature of 10°C, either by temporary heat and enclosure, or due to favourable environmental conditions.

.3	Acceptance of Consultant to place concrete in shrinkage strip.

  - curing

.1	Cure concrete in accordance with CSA A23.1 and as follows.

.2	Wet cure flat slabs and floors shown to receive [paint] [ceramic tile] [quarry tile] [terrazzo] [toppings]

.3	All concrete shall receive moist curing for a period of seven days.  One of the following methods shall be used as soon as the concrete has hardened sufficiently to prevent marring:

.1	Surface covered with canvas, burlap or other satisfactory material and kept thoroughly wet.

.2	Surface sealed with polyethylene sheeting and the concrete kept thoroughly wet.

.3	Subject to the approval of the Consultant, a liquid membrane curing compound used in accordance with the manufacturer’s recommendations, may be used.  Membrane to remain intact during the curing period.

.4	Surfaces of concrete that are protected by formwork which is left in place for seven days shall not require any additional curing except as specified for hot weather.  If the formwork is removed in less than seven days, the concrete shall receive moist curing until seven days have elapsed since the concrete was placed.

.5	Use curing compounds compatible with applied finish on concrete surfaces. Provide written declaration that compounds used are compatible.

.6	Curing compounds shall not be used on concrete surfaces to receive topping or other type of bonded finish unless approved by the Consultant.

.7	Protect freshly placed and consolidated concrete against damage or defacement from adverse weather conditions.

.8	Coat exposed concrete walking surfaces not to receive an integral hardener with curing compound of type that provides permanent seal.

.9	Do not use curing compound in locations where chemical hardener is to be used.

  - PLACING – MASS CONCRETE

.1	The maximum temperature in the concrete after placement shall not exceed [70°C].

.2	The maximum temperature difference between the centre of the mass concrete and its exterior surface after concrete placement shall not exceed 20°C as per CSA A23.1.

.3	The Contractor shall supply and install [four (4)] thermocouples and test them for proper operation prior to placement of concrete.  The wiring from the thermocouples cast into the concrete shall be protected to prevent movement.  Wire runs shall be as short as possible.  The ends of the thermocouples shall not come into contact with either a support or concrete form, or reinforcing steel.

.4	Cast the Mass Concrete in one continuous pour.

.5	The permissible concrete temperature at placing shall be between [5°C] and [20°C] (Spec note: refer to Table 14 of CSA A23.1).

.6	Place concrete in lifts not exceeding [1500 mm].

.7	Ensure that vibration of placed concrete does not damage the thermocouples.

  - CURING – MASS CONCRETE

.1	The Contractor shall take thermal control measures to ensure that the maximum temperature of concrete and the temperature difference remain within the limits specified in 3.10 of this section.

.2	The Contractor shall monitor and record the temperature every 4 hours for the first 3 days after concrete placement.  The ambient temperature shall also be recorded.

  - LOADING OF STRUCTURE

.1	Provide a minimum of [7] days of moisture curing to structural slabs prior to any loading.

.2	Limit loading of structural slabs-on-grade to [2.4 kN/m2] until the concrete has achieved specified 28-day strength.

.3	Do not load area of structure where formwork is being removed until it is completely re-shored.

.4	Request from Consultant maximum allowed loading of beams, soffits, suspended slabs, decks, and other structural members for the period when formwork, falsework, shoring, and re-shoring is removed until concrete has achieved specified 28-day strength.

.5	[Design-Builder] may retain an acceptable testing agency at their own expense to take additional concrete test cylinders cured on the slab to evaluate the concrete strength for their own purposes; confirm test results with Consultant for acceptability of early strength characteristics before removing any supports of applying loads to slab construction.

  - finishing and treatment of slab or floor surfaces

.1	[Refer to Section 03 35 10 for [hardened] [coloured] [waxed] concrete floor finishes.]

.2	[Finish concrete floor to meet requirements of CGSB 81-GP-1M, class [1 – Static conductive and mechanical spark resistant] [2 - Static conductive but not necessarily mechanical spark resistant].]

.3	Provide [screed] [swirl-trowelled] [scratch] finish where [bonded topping] [terrazzo] [floor tile] is to be applied. Provide required depressions to accommodate [bonded topping] [terrazzo] [floor tile].

.4	Provide swirl-trowelled finish where [resilient floor tile] [resilient sheet floor tile] [and] [carpet] is to be applied.

.5	Provide [screed] [swirl-trowelled] [scratch] finish unless otherwise indicated.

.6	Provide float finish to surfaces to receive roofing or waterproofing membrane. Consolidate and strike off concrete and complete surface with a power float to true plane not exceeding 5 mm in 3 m.

.7	Slab and floor finish tolerance, unless specified otherwise, in accordance with CSA A23.1, [straight edge method] [F-number method] [waviness method] to following locations:

SPEC NOTE: Specify as many slab locations as required to cover slab tolerances for the entire project.

| Floor Slab Location |  | Finish Tolerance |
| --- | --- | --- |
| [ ] |  | [straight edge value of ± [ ] mm in 3 meters] [FF = [ ], FL = [ ]] [surface waviness index of [ ] mm] |
| [ ] |  | [straight edge value of ± [ ] mm in 3 meters] [FF = [ ], FL = [ ]] [surface waviness index of [ ] mm] |

.8	Provide floor level at walls with uniform minimum slope of 1% to floor drain, where applicable.

.9	Sprinkling of dry cement or a mixture of dry cement and sand over concrete surface is not acceptable.

.10	Depress floors for [ceramic tile] [quarry tile] [terrazzo] [asphalt planking] [toppings] as shown on drawings.

  - bull floating

.1	[Achieve flatness for concrete slabs by means of a highway straight edge, minimum 3 m width, in lieu of a standard bull float.] [Bull float floor surfaces to remove ridges and fill voids immediately after screeding.]

.2	Complete [straight edge] [bull floating] before any excess moisture or bleed water is visible on the surface.

  - mechanical floating

.1	Mechanically float floor surfaces when bleed water has disappeared and surfaces are sufficiently hard to prevent working excess mortar to the surface.

.2	Continue floating as necessary to produce surfaces of uniform texture, free from hollows, bumps and screed marks.

.3	For surfaces to be trowelled, continue floating as necessary to embed coarse aggregate particles firmly below surface mortar.

.4	Hand float in restricted areas, corners, etc.

  - trowelling

.1	Trowel floor surfaces with mechanical trowelling machines fitted with steel blades.

.2	Commence trowelling when surface is sufficiently hard to prevent working excess fine material to the surface.

.3	Perform additional trowelling at intervals so final trowelling is done just before concrete becomes so hard that further trowelling is ineffective.

.4	Finished trowelled surfaces to be hard, dense, and free from blemishes or other imperfections.

.5	Hand trowel in restricted areas, corners, etc.

  - textured surfaces

.1	Final trowelling to be spin trowel or hand swirl finish.

.2	Immediately after final trowelling, brush or fine broom surfaces with a hair broom.

.3	Immediately after mechanical floating, broom surfaces with a stiff bristled broom.

.4	Protect textured floors from damage during construction.

3.18	toppings

SPEC NOTE: Specify details of special concrete mix for topping or identify appropriate proprietary products.

.1	Topping [mixture] to meet the following requirements.

.1	Monolithic, [       ] mm thickness: [         ].

.2	Bonded overlay, [        ] mm thickness: [         ].

.2	In pouring base course, make allowance for [monolithic] [and] [bonded overlay] topping thickness.

.3	Place monolithic topping before base course has completely set in accordance with CSA A23.1 [and bonding agent manufacturer’s recommendations].

.4	Place bonded overlay topping over hardened base course in accordance with CSA A23.1 [and topping manufacturer’s recommendations].

.5	Follow Consultant’s instructions in case of conflicting requirements arise between CSA A23.1 and topping manufacturer’s recommendations.

.6	Apply [cement/sand grout] [latex bonding agent modified cement/sand grout] [epoxy bonding agent] to base course in accordance with CSA A23.1 [and topping manufacturer’s recommendations].

.7	Ensure joints in topping are of the same as those in base course. Also ensure that joint locations precisely match those in base course.

.8	Provide [dividers,] [edge strips,] [and] [reinforcing mesh] [as indicated].

3.19	FINISHING FORMED SURFACES

.1	Upon removal of forms, treat imperfections in formed surfaces in accordance with CSA A23.1 and to Consultant’s approval.

.2	Modify or replace concrete not conforming to the quality, lines, details and elevations specified herein or as shown on drawings.

.3	Finish all exposed formed concrete surfaces with [smooth rubbed] [sand floated] [sack rubbed] finish according to CSA A23.1.

.4	Rough Finish Concrete Surfaces not Exposed to View:  Place concrete against forms true and plane. Cut off form ties a minimum of 10 mm below concrete surface.  Patch tie holes and defects.  Remove fins exceeding 5 mm.

.5	Smooth Finish Overhead Surfaces Exposed to View:  Place concrete against plywood, steel or tempered hardboard. Patch tie holes and defects.  Remove fins.

3.20	GROUT

.1	Mix non-shrink grout to consistency specified in part 2 of this Section as required for use intended and apply in accordance with manufacturer's instructions.  Install under columns, beams and equipment bases as shown on drawings, in accordance with the manufacturer’s recommendations.

3.21	equipment pads

.1	Provide concrete pads for equipment where indicated on drawings.  Adjust dimensions of pads to reviewed shop drawings.

.2	Insert bolts and sleeves and pack with non-shrink grout, in accordance with setting details and templates.

.3	Steel trowel surfaces smooth. [Bullnose edges to smooth radius] [Chamfer exposed edges]

3.22	slabs on fill

.1	Seal punctures and damaged edges of vapour barrier before placing concrete.  Use vapour barrier material, lapped over punctures and damaged areas 150 mm in all directions.  Seal with tape.

.2	Place adjustable screeds at suitable locations.  Do not pierce vapour barrier.

.3	Place concrete to required elevations shown on drawings.

.4	Separate slabs-on-fill from vertical surfaces with a suitable smooth faced bond breaker.

.5	Place floor slabs in [checkerboard] pattern indicated on drawings.

OR

.5	Saw cut control joints with true square edges within 24 hours after finishing.  Cut in pattern shown on drawings.  Use 5 mm thick blade, cut to 1/3 depth of slab

3.23	CONCRETE MIX SCHEDULE

SPEC NOTE:

.1	The Consultant shall provide a Performance Based Specification for Structural Concrete.  Refer to Table 5 of A23.1-14.  As a minimum, specify:

- Required structural criteria

- Minimum Compressive Strength at a Specified Age (28 days or 56 days)

- Durability Criteria including Class of Exposure – Resistance to Sulphates, Chlorides, Freeze-Thaw and Permeability considerations

- Air Content Category

- Type of Hydraulic Cement

.2	Check for compatibility of admixtures, particularly when floor hardeners are being used.

.3	Requirements for concrete pavement, sidewalks, curbs and gutters shall be specified in Division 32.

# END OF SECTION

# Comments

Withdrawn Jan 2005

Withdrawn

Withdrawn Feb 2012

Withdrawn

ASTM C260/C260M – Standard Specification for Air-Entraining Admixtures for Concrete

Withdrawn

ASTM C494/C494M – Standard Specification for Chemical Admixtures in Concrete