Section Cover Page

Section 03 52 16 2019-06-05 Lightweight Insulating Concrete

Refer to “Green Building Notes” page for additional guidance for projects following a sustainable rating system. Revise Green Building requirements if the Province has determined that the work of this Contract is not to attain a sustainable rating system certification.

Requirements for recycled material should still be specified even if this project is not pursuing LEED Certification.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Green Building Notes

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Submittals

1.4	Delivery, Storage and Handling

2.	Products

2.1	Materials

2.2	Mix

3.	Execution

3.1	Workmanship

3.2	Placing

3.3	Curing/Finishing

3.4	Venting

Green Building Notes:

If the project is not designated to use a sustainable rating system it is still be prudent to leave in relevant green building requirements as part of an effort towards sustainability.

Review and incorporate requirements from the following documents into the project:

Section 1.0 “Sustainability” and “Appendix G – Green Building Standards” of the “Technical Design Requirements for Alberta Infrastructure Facilities”

http://www.infrastructure.alberta.ca/doctype486/TechDesignRequirements.pdf

LEED Specific Documents (if required):

LEED Project Delivery Process Manual

http://www.infrastructure.alberta.ca/Content/docType486/Production/LEED_PD_Manual.pdf

LEED Project Delivery Process Manual – Appendices

http://www.infrastructure.alberta.ca/Content/docType486/Production/LEED_PD_Appendices.pdf

All documents can be found on Infrastructure’s Technical Resource Centre, Guidelines and Standards page:   http://www.infrastructure.alberta.ca/992.htm

1.	General

1.1	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16].

.2	[LEED Requirements	Section 01 35 18].

.3	[Environmental Procedures	Section 01 35 20].

.4	Waste Management and Disposal	Section 01 74 19.

.5	Concrete Testing and Inspection 	Section 03 05 05.

.6	Concrete Reinforcing	Section 03 20 00.

.7	Cast-in-Place Concrete	Section 03 30 00.

.8	Structural roof decking:	Section [            ].

.9	Roofing and insulation:	Section [            ].

1.2	REFERENCE Documents

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED requirements and sustainable practices

SPEC NOTE: Latest versions of the following standards to be used

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM C332-17 | Standard Specification for Lightweight Aggregates for Insulating Concrete. |
| --- | --- | --- |

Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.2	Canadian Standards Association (CSA):

| .1 | CAN/CSA A3000-13 | Cementitious Materials Compendium (Consists of A3001, A3002, A3003, A3004, and A3005). |
| --- | --- | --- |
| .2 | CSA A23.1-14 | Concrete Materials and Methods of Concrete Construction. |
| .3 | CSA A23.2-14 | Test Methods and Standard Practices for Concrete. |

.3	Do concrete work to CSA A23.1-14 except where specified otherwise.

1.3	submittals

.1	Concrete density - Submit results of concrete density tests performed in accordance with ASTM C567 / C567M.  Include correlation between fresh density and equilibrium density.

.2	Testing and Evaluation Reports:

.1	Inspection and testing of concrete work may be carried out by a firm retained by the Province with first series of tests paid for by the Province.  Subsequent retests or replacement of work is responsibility of the Contractor.

.2	[Prepare] [Testing Laboratory will take] three test cylinders in accordance with CSA A23.2 from each [50 m3] or less of concrete placed.  Submit test cylinders to laboratory.  Prepay shipping charges.

.3	[Prepare] [Testing Laboratory will take] one additional test cylinder on job-site under same conditions as concrete it represents].

.4	[Make] [Testing Laboratory will make] at least one slump test in accordance with CSA A23.2 for each set of test cylinders taken].

.3	Sustainable Design Submittals:

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.1	LEED Submittals: submit LEED submittal forms for Credits MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation including mix design identifying percent of recycled material used in the concrete.

1.4	delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 Waste Management and Disposal.

2.	Products

2.1	MATERIALS

.1	Portland Cement:  to CAN/CSA A3000, [normal] [high early] type, grey.

.2	Water:  potable, to CSA A23.1.

.3	Vermiculite Aggregate:  to ASTM C332, Group 1, dry density of 100-160 kg/m3.

.4	Air Entrainment:  additive recommended by vermiculite aggregate supplier, providing 4% maximum air added.

.5	Reinforcement:  150 x 150 x P5/P5 welded wire fabric, galvanized.

2.2	MIX

.1	Design lightweight concrete mix as follows:

Cement to	Compressive	Oven Dry

Aggregate Ratio	Strength   	Density

1:4	3060-3450 kPa	500-590 kg/m3

1:6	860-1550 kPa	350-450 kg/m3

1:8	620-860 kPa	290-350 kg/m3

SPEC NOTE:  Select applicable mix.

3.	Execution

3.1	WORKMANSHIP

.1	Maintain accurate records of poured concrete items to indicate date, location of pour, quantity, air temperature and test samples taken.

.2	Ensure that other work is not disturbed during concrete placement.

.3	Materials, mix, workmanship and installation to conform to vermiculite aggregate manufacturer’s instructions.

3.2	PLACING

.1	Ensure joints in [precast] [     ] roof members are grouted or taped to prevent seepage of insulating waterproof seal as required.

.2	Pump insulating concrete into place and screed to a true and even surface.

.3	To conform to roofing requirements for roof drainage, slope the thickness of the concrete so that positive roof drainage is realized.

.4	When air temperatures of 4°C or above are predicted for the first 24 hours after pour, use normal pouring procedure.

.5	When air temperatures of below 4°C are predicted, discuss with the Consultant.

3.3	CURING/FINISHING

.1	Protect material from the elements as required to maintain material quality and finish intended.

.2	Float surface smooth and flat, hand steel trowel to final finish.  Ensure uniform pitch to drains.

3.4	VENTING

.1	Make provision for venting at roof edges and parapet walls.

.2	Install stack vents, one vent for each 100 m2 of deck area, per detailed specification of the Canadian Roofing Contractors Association.

END OF SECTION