Section Cover Page

Section 08 70 00 2014-11-01 Hardware

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

This Master Specification Section contains:

.1	This Cover Page

.2	LEED Notes and Credits

.3	Master Specification Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Products Supplied But Not Installed Under This Section

1.3	Reference Documents

1.4	Product Options and Substitutions

1.5	Administrative Requirements

1.6	Submittals

1.7	Closeout Submittals

1.8	Maintenance Material Submittals

1.9	Delivery, Storage and Handling

2.	Products

  - Sustainability

  - Locks and Latches

  - Door Hanging Devices

  - Exit Devices

  - Door Closers and Accessories

  - Auxiliary Locks and Associated Products

  - Architectural Door Trim

  - Auxiliary Hardware

  - Weatherstripping and Door Seals

  - Miscellaneous Hardware

  - Fastenings

  - Keying

  - Key Control System

3.	Execution

3.1	Installation

3.2	Instruction

  - Hardware Schedule

The standards specified in Article 1.2 correlate Canadian General Standards Board (CAN/CGSB) designations with standards that have been developed by the Builders Hardware Manufacturers Association Inc. (BMHA) and adopted by both American National Standards Institute (ANSI) and CGSB in entirety.  Manufacturers may reference any of these standards authorities in their product literature to prove compliance with the specification.

LEED Notes:

Refer to Section 01 35 18 – LEED Requirements for:

.1	Requirements necessary to obtain points for certification.

.2	Confirmation of LEED prerequisites and credits affecting this Section.  Not all are mandatory for certification.

Maintain built-in sustainability regardless of LEED requirements for:

.1	Energy reducing materials, assemblies and equipment

.2	Recycling, reuse of materials, components and assemblies.

.3	Diversion of construction waste from landfills.

.4	Use of recycled materials, local materials, rapidly renewable and durable materials.

.5	Maintain healthy indoor environment during constructing.

.6	Foster innovation into facility design and planning.

LEED Credits:

1.	Materials & Resources

-	Prereq 1 - Storage & Collection of Recyclables

-	Credit 2 - Construction Waste Management

-	Credit 4 - Recycled Content

-	Credit 5 - Regional Materials

2.	Indoor Environmental Quality

-	Prereq 1 - Minimum IAQ Performance

-	Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

-	Credit 4.2 - Low-Emitting Materials: Paints and Coating

1.	General

  - RELATED Work Specified in Other SECTIONS

SPEC NOTE:  Edit to suit project requirements.

.1	Submittal Procedures	Section 01 33 00.

.2	Shop Drawings, Product Data and Samples	Section 01 33 23.

.2	[LEED Requirements	Section 01 35 18.]

.4	[Waste Management and Disposal	Section 01 74 19.]

.5	[Spare Parts and Maintenance Materials	Section 01 78 43.]

.6	[Equipment and Systems Demonstration and Instruction	Section 01 79 00.]

.7	Preparation of wood door frames:	Section 06 20 00.

.8	Cabinet hardware:	Section 06 40 00.

.9	Preparation of hollow metal frames:	Section 08 12 13.

.10	Preparation of hollow metal doors:	Section 08 13 13.

.11	Preparation of aluminum doors and frames:	Section 08 11 16.

.12	Preparation of wood doors:	Section 08 14 16.

.13	Connections for electrical hardware:	Division 26.

1.2	PRODUCTS SUPPLIED BUT NOT INSTALLED UNDER THIS SECTION

.1	Supply following products for installation under other Sections:

.1	Cylinders for aluminum doors, installed under Section [       ].

.2	Cylinders for [            ], installed under Section [       ].

.3	[                         ].

1.3	REFERENCE Documents

SPEC NOTE: Edit to suit project requirements. Delete standards that are not relevant to the project.

SPEC NOTE: The standards specified below correlate Canadian General Standards Board (CAN/CGSB) designations, specified within the text of this Section, with standards that have been developed by the Builders Hardware Manufacturers Association Inc. (BMHA) and adopted by both American National Standards Institute (ANSI) and CGSB in entirety.  Manufacturers may reference the CGSB, ANSI or BHMA designations in their product literature to verify compliance with the specification.

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED requirements and sustainable practices.

.1	Canadian Steel Door and Frame Manufacturer’s Association:

| .1 | Standard hardware location dimensions in accordance with Canadian Metric Guide for Steel Doors and Frames (Modular Construction) |
| --- | --- |

.2	American National Standards Institute (ANSI/BHMA):

| .1 | ANSI/BHMA A156.2-2003 | Bored and Preassembled Locks and Latches |
| --- | --- | --- |
| .2 | ANSI/BHMA A156.1-2006 | Butts and Hinges |
| .3 | ANSI/BHMA A156.3-2008 | Exit Devices |
| .4 | ANSI/BHMA A156.4-2008 | Door Controls - Closers |
| .5 | ANSI/BHMA A156.5-2001 | Auxiliary Locks and Associated Products |
| .6 | ANSI/BHMA A156.6-2005 | Architectural Door Trim |
| .7 | ANSI/BHMA A156.8-2005 | Door Controls – Overhead Stops and Holders |
| .8 | ANSI/BHMA A156.12-2005 | Interconnected Locks and Latches |
| .9 | ANSI/BHMA A156.13-2005 | Mortise Locks and Latches, Series 1000 |
| .10 | ANSI/BHMA A156.15-2006 | Release Devices – Closer Holder, Electromagnetic and Electromechanical |
| .11 | ANSI/BHMA A156.16-2008 | Auxiliary Hardware |
| .12 | ANSI/BHMA A156.17-2004 | Self Closing Hinges and Pivots |
| .13 | ANSI/BHMA A156.18-2006 | Materials and Finishes |
| .14 | ANSI/BHMA A156.21-2009 | Thresholds |

.3	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.4	South Coast Air Quality Management District (SCAQMD), California State (SCAQMD):

| .1 | SCAQMD Rule 1113-04 | Architectural Coatings |
| --- | --- | --- |
| .2 | SCAQMD Rule 1168-05 | Adhesives and Sealants Applications |

SPEC NOTE:  Edit above to suit project requirements and coordinate with other applicable Sections.

1.4	PRODUCT OPTIONS AND SUBSTITUTIONS

.1	Refer to Section [00 72 14] [01 62 00] for requirements pertaining to product options and substitutions.

.2	The following applies to hardware where reuse of existing doors is specified.

.1	Only lock and latch sets and exit devices that fit existing cut-outs are acceptable for use.

.2	Only closers that cover existing fastener holes or match up to existing thru-bolt penetrations are acceptable for use.

1.5	administrative requirements

.1	Sequencing:

.1	Deliver hardware required for shop application in ample time so as not to impede the progress of the Work.

.2	Scheduling:

.1	Acceptance of keys:

.1	For security reasons, forward all keys [and bitting list] by hand to the following individual only:

SPEC NOTE:  Specify name and address of Project Manager.

[                     ], Project Manager

[                ] Division

3rd Floor, 6950 - 113 Street NW

Edmonton, Alberta   T6H 5V7

OR

[                     ], Project Manager

[                 ] Division

10th Floor, John J. Bowlen Building

620 - 7th. Ave. S.W.

Calgary, Alberta    T2P 0Y8

1.6	Submittals

.1	Product Data:

.1	Comply with requirements of Division 01.

.2	Shop Drawings:

.1	Hardware Schedule:

.1	Submit a detailed hardware schedule indicating the following:

.1	Door and frame types, sizes, door swings.

.2	Type, style, function, size and finish of each hardware item.

.3	Mounting heights, fastenings and other pertinent information.

.4	Name and manufacturer of each item.

.5	Location of all hardware items cross-referenced to door numbers indicated on floor plans and in door and frame schedule.

.6	Explanation of all abbreviations, symbols and codes contained in schedule.

.2	Keying Schedule:

.1	Submit a separate detailed schedule clearly indicating how Province's instructions on keying requirements have been fulfilled.

.3	Certificates:

.1	After completion of all construction work, certify on a form acceptable to the Province, that all items of finish hardware have been adjusted and are working properly and that all hardware on fire rated [labeled] doors conforms to the requirements of (ULC) Underwriters Laboratories of Canada.

.4	Test and Evaluation Reports:

.1	If requested by Province, submit test reports confirming specification compliance. Include description of testing methodology and apparatus with each test report.

.5	Manufacturers’ Instructions:

.1	Include, with each item of hardware the following:

.1	Installation instructions.

.2	Deliver finish hardware with all items in individual packages, legibly marked and adequately labelled indicating the part of the work for which it is intended.

SPEC NOTE:  Use below paragraph for LEED projects when submittals are required.

.6	Sustainable Design Submittals:

.1	LEED Submittals: Submit documentation in accordance with Section 01 35 18 – LEED Requirements.  Submit documentation for the following:

.1	Materials & Resources:

.1	MR Credit 4 - Recycled Content: [10%] [20%] (post-consumer + ½ pre-consumer)

.2	MR Credit 5 - Regional Materials: [20%] [30%] Extracted and Manufactured Regionally

.2	Indoor Environmental Quality

.1	Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

.2	Credit 4.2 - Low-Emitting Materials: Paints and Coating

1.7	closeout submittals

.1	Operation and Maintenance Data:

.1	Comply with requirements of Division 01.

.2	Provide the following:

SPEC NOTE:  Delete bitting list requirement for projects without master keying systems.

.1	One copy of manufacturer's key bitting list.  Forward by hand, together with keys.

.2	Manufacturer's maintenance instructions.

.3	Complete parts lists.

.4	Manufacturer's installation and operation instructions for all operable hardware.

1.8	maintenance material submittals

.1	Spare Parts:

.1	Comply with requirements of Division 01.

.2	Supply following additional quantities of hardware items.  Deliver to site and store as directed by the Province.

.1	Hinges:	[  ] pairs of each different type.

.2	Closers:	[  ] of each different type.

.3	Lock/Latch Sets:	[  ] of each different function.

.4	Exit Devices:	[  ] of each different type and function.

.5	Push/Pull Devices:	[  ] of each different type or size.

.6	[                                                     ].

SPEC NOTE:  Specify spare hardware only for large projects or where unusual hardware requirements exist.  Edit above list to suit project requirements.

.2	Tools:

.1	Provide two sets of wrenches for door closers, lock and latch sets and exit devices.

.2	Provide special tools required for installation.

1.9	delivery, storage, and handling

.1	Storage and Handling Requirements:

.1	Provide a locked storage room with adequate shelving and bin space to properly receive and stock hardware prior to installation.

SPEC NOTE:  Delete or revise above paragraph as required, based on project size.

.2	Protect knobs, handles, push plates and pulls with adhesive release paper, of type that is easily removed without marring finish.

.2	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 – Management and Disposal.

2.	Products

SPEC NOTE:  Edit to suit project requirements. Review hardware for each door to eliminate conflict between hardware items, for example, door closers and bar type coordinators.

SPEC NOTE:  Where more than one grade of locksets and latches, exit devices or other hardware items are specified and grade is not included in the ANSI/BHMA code, specify all applicable grades in the following descriptive text and the required grade in the appropriate location of the hardware schedule. Generally, specify Grade 1 for high frequency use, Grade 2 for regular use in commercial and institutional projects and Grade 3 for residential use. Verify Grade requirements with the Project Manager.

SPEC NOTE:  There are separate numbers for each finish as they are applied to different base materials (refer). Where base material is not indicated, finish specified will determine base material. All product types are not available in all base materials and finishes, consult product catalogues for availability. Specify written finish description for each hardware item in text below and numeric finish designation in hardware groups or sets.

SPEC NOTE:  Edit LEED credits to suit project requirements

2.1	Sustainability

.7	Sustainable Products:  Use products with recycle content, raw materials extracted regionally, and low-emitting materials to achieve the following credits:

.1	Materials & Resources

.1	[MR Credit 4 - Recycled Content: [10%] [20%] (post-consumer + ½ pre-consumer)]

.2	[MR Credit 5 - Regional Materials: [20%] [30%] Extracted and Manufactured Regionally]

.2	Indoor Environmental Quality

.1	[Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants]

.2	[Credit 4.2 - Low-Emitting Materials: Paints and Coating]

2.2	Locks and Latches

.1	Bored and Preassembled Locks and Latches: to, [series 2000 preassembled lock, grade 1] [series 4000 bored lock, grade[s] [1] [2] [3]], designed for function, [grade] [and keyed] as stated in hardware schedule.

.2	Interconnected Locks and Latches: to, series 5000 interconnected lock, grade[s] [1] [2] [3], designed for function, [grade] [and keyed] as stated in hardware schedule.

.3	Mortise Locks and Latches: to, series 1000 mortise locks [and latches], grade[s] [1] [2] [3], designed for function, [grade] [and keyed] as stated in hardware schedule.

SPEC NOTE:  Generally mortise locks and latches are used in institutional applications but may be used in any application where hard usage is anticipated. Where mortise locks are required for normal usage, specify Grade 1 Bored or Preassembled Latches to minimize cost. Because of their higher cost, confirm acceptability of mortise sets with project manager.

.4	[Knobs] [and] [Lever handles]: [plain] [special (describe)] design.

.5	[Roses] [Escutcheons]: [round] [square].

.6	Normal strikes: box type, lip projection [not beyond jamb].

.7	Cylinders: key into keying system as [noted] [directed].

.8	Finish:  [                                                            ].

SPEC NOTE:  Use the following paragraph only where existing conditions warrant the limiting of lock and latch set manufacturers.

.9	Product Manufacturers: one of the following, at the Contractor’s option.

.1	[                                                            ]

.2	[                                                            ]

.3	[                                                            ]

Substitutions will not be accepted.

2.3	Door Hanging Devices:

SPEC NOTE:  Only hinges with steel as base metal are acceptable for use on fire resistance rated doors.

.1	Butts and Hinges[, and Pivots]: to, designated by letter A and numeral identifiers listed in standard, followed by size and finish, specified in Hardware Schedule.

.2	Self-Closing Hinges and Pivots: to, designated by letter K and numeral identifiers listed in standard, followed by size and finish, specified in Hardware Schedule, [with suffix letter F indicating listed for use on fire doors.]

2.4	Exit Devices

SPEC NOTE: Where more than one type, function and/or grade of exit devices is required, specify all applicable types, functions, grades and finishes in the following descriptive text and the required type, function, grade and finish in the appropriate location of the hardware schedule. ANSI/BHMA functions are listed in and in manufacturer’s literature. Add “UL” after type number when ULC label on exit devices is required.

.1	Products shall be to, type[s] [1, rim] [2, surface vertical rod] [3, mortise] [4, narrow style rim] [5, narrow style surface vertical rod] [6, narrow style concealed vertical rod] [7, wood door concealed vertical rod], function[s] [_________], grade [1] [2], [conventional] [modern] [modern narrow stile] [special (describe)] design, [__________]finish.

.1	Auxiliary items(s):

.1	Type 21 - Door coordinator with carry bar, [arm type] [bar type with filler piece].

.2	Type 22 – Removable mullion.

.3	Type 23 or 24 – Surface or concealed automatic latching two point bolts.

.4	Type 25 – Automatic extension flush bolts

.5	Type 26 – Latching thresholds: full width of door opening.

2.5	Door Closers and Accessories:

SPEC NOTE: Where more than one type of closer is required, specify all applicable types and finishes in the appropriate location of the hardware schedule. Specify size of closer relative to closing force. Where strong drafts, excessive air pressure variations or extra heavy doors are encountered, specify the next larger size.

SPEC NOTE:  Where overhead holders/stops are required, coordinate with closer function to eliminate conflicts. A drop plate for the closer may be required.

.1	Door Controls (Closers): designated by letter C and numeral identifiers listed in standard and specified in Hardware Schedule, size [             ] [in accordance with, table 1], [                   ] finish, [as specified in Hardware Schedule].

.2	Door Controls – Overhead Holders/Stops: to, designated by letter C and numeral identifiers listed in standard and specified in Hardware Schedule, [                  ] finish, [as specified in Hardware Schedule].

.3	Closer/Holder Release Devices: to, designated by letter C and numeral identifiers listed in standard and specified in Hardware Schedule complete with options, [                 ] finish, [as specified in Hardware Schedule]. Tied into fire alarm to release holder upon activation of the fire alarm. [120 volt.] [24 volt with a maximum of two devices tied into one transformer.]

.4	Door coordinator with carry bar, [arm type] [bar type with filler piece].

2.6	Auxiliary Locks And Associated Products

SPEC NOTE: Where more than one item of auxiliary locks and associated products are used, specify all applicable items, types and finishes in the appropriate location of the hardware schedule. All types are listed in standard and manufacturer’s literature. also includes electric strikes and exit alarms and locks.

.1	Products shall be to, designated by letter E and numeral identifiers listed in standard and specified in Hardware Schedule, [                   ] finish, [as specified in Hardware Schedule].

.1	[Latch bolt] [Dead bolt], type [                 ], [finished to [               ]]. Key into keying system as [noted] [directed].

.2	Electric Strikes, type complete with options specified in Hardware Schedule. Provide manufacturer’s wiring and devices required for complete installation.

.3	Cylinders: types as required to accommodate lockset, exit device or bolt. Key into keying system as [noted] [directed].

2.7	Architectural Door Trim

SPEC NOTE: Where more than one item of architectural door trim is used, specify all applicable items, types and finishes in the appropriate location of the hardware schedule. All types are listed in standard and manufacturer’s literature. Include size of plates if not shown elsewhere. also includes door edging, and other types of plates and push/pull bars.

.1	Products shall be to, designated by letter J and numeral identifiers listed in standard and specified in Hardware Schedule, [[_________] finish,] [as specified in Hardware Schedule].

SPEC NOTE:  Generally, only plastic and plastic laminate plates are available with beveled edges.

.2	Door Protection Plates: kick plate type [              ], [1.27 mm thick [aluminum] [brass] [stainless steel]] [3.2 mm thick [solid plastic] [laminated plastic]], [beveled [3] edges], [size], [[                 ] finish].

.3	Push Plates: type [               ], [1.27 mm thick [aluminum] [brass] [stainless steel]] [3.2 mm thick [solid plastic] [laminated plastic]], [beveled 4 edges], [size], [[               ] finish].

.4	Pull Units [With Plate]: type [                ], [combination] [aluminum] [brass] [stainless steel] [wood] [plastic] [stone], [size of pull], [size of plate], [beveled 4 edges], [[                ] finish].

2.8	Auxiliary Hardware

SPEC NOTE: Where more than one item of auxiliary hardware is used, specify all applicable items and finishes in the appropriate location of the hardware schedule. All types are listed in standard and/or manufacturer’s literature.

.1	Products shall be to, designated by letter L and numeral identifiers listed in standard and specified in Hardware Schedule, [[_________] finish,] [as specified in Hardware Schedule].

.2	[Combination] [Magnetic] [Chain] [Stop] [And] [Holder], [Wall] [Floor] [Door] Mounted: type [              ], [[                ] finish].

.3	[Surface Bolt] [[Lever Extension ]Flush Bolt] [Cremone Bolt]]: type [              ], [[              ] finish].

.4	Door Silencer: type [              ].

.5	Chain Door Guard: type [              ].

.6	Door Knockers: type [              ].

.7	Door Viewer: type [              ], [listed or labeled for fire doors].

.8	Roller Latch: type [              ].

.9	Automatic Flush Bolts: type [              ].

.10	Dustproof Strike: type [              ], to suit bolt specified.

2.9	Weatherstripping and door seals

.1 	Head and Jamb Seal:

.1	Extruded aluminum frame and [[solid] [hollow] closed cell neoprene] [nylon brush] [pile] [vinyl] insert, [clear anodized] [              ] finish.

.2	Adhesive backed [neoprene] [vinyl covered foam] material.

.2	Door Bottom Seal:

.1	Extruded aluminum frame and [closed cell neoprene] [nylon brush] [vinyl] sweep, [clear anodized] [              ] finish.

.3	Automatic Door Bottom Seal:

.1	[Heavy duty, ]door seal of extruded aluminum frame and [solid] [hollow] closed cell neoprene [weather] seal, [recessed in door bottom] [surface mounted [with drip cap]] [recessed in door face], closed ends, [adjustable] [automatic retract mechanism when door is open], [clear anodized] [              ] finish.

SPEC NOTE:  Where automatic door bottom seal is used in conjunction with flush bolts, specify surface mounting of door bottom seal.

2.10	miscellaneous hardware

.1	Thresholds: to, [                 ] mm wide x full width of door opening, [extruded aluminum] [bronze] [stainless steel] [mill] finish, [plain] [serrated] surface, [with thermal break of rigid PVC], with [lip] [and] [vinyl door seal insert].

.2	Astragal: [adjustable] [compensating] [overlapping], [extruded aluminum] [              ] frame with [vinyl] [pile] insert, [finished to match doors].

SPEC NOTE:  the following is a specification for mechanical cipher locks. If required, specify electronic cipher locks using the same format.

.3	Cipher locks: bored mechanical type, five button operation [with emergency keyed override, keyed into master key system], [knobbed], [levered], metal housing with [   ] finish and black button pad and as follows:

.1	Proprietary Product: Kaba Ilco L1021 [with required keyway].

2.11	FASTENINGS

.1	Supply screws, bolts, expansion shields and other fastening devices required for satisfactory installation and operation of hardware.

.2	Match exposed fastening devices to finish of hardware.

.3	Where pull is scheduled on one side of door and push plate on other side, supply fastening devices, and install so pull can be secured through door from reverse side.  Install push plate to cover fasteners.

.4	Use fasteners compatible with material through which they pass.

.5	Use sex nuts and bolts for doors without special reinforcing for closers.

2.12	KEYING

.1	Locks shall be [keyed differently] [keyed alike] [keyed alike in groups] [master keyed] [grandmaster keyed] [great grandmaster keyed] [great great grandmaster keyed] [and construction masterkeyed].

SPEC NOTE: Always include, and edit, the following paragraph where there is an existing master key system. Provide both the name of the manufacturer and the keyway of the existing system.

.2	Locks shall be keyed into existing [     ] master key system with [    ] keyway.

.3	Key two or more doors to the same room alike.

.4	Key doors to mechanical spaces alike.

.5	Key doors to electrical spaces alike.

.6	Key doors to janitor's rooms alike.

.7	Determine detailed requirements for master keying system upon consultation with the Province, prior to finalizing keying schedule.

.8	Form keys from [nickel silver] [       ].

.9	Provide two change keys for each lock except where otherwise required.  Provide all other keys as required to meet keying system requirements.

2.13	KEY CONTROL SYSTEM

SPEC NOTE:  Investigate need for special key control security requirements for secure facilities.

.1	Provide and install where directed, a steel cabinet complete with index control system, key tags, and key envelopes.

.2	Provide adequate capacity to contain all keys, [plus approximately [50%] additional capacity] with tags.

3.	Execution

3.1	INSTALLATION

.1	Provide metal door and frame manufacturers with complete instructions and templates for preparation of their work to receive hardware.

.2	Install all hardware items to manufacturer's instructions and recommendations.

.3	Where hardware items are required to be installed onto or into surfaces that are to be later painted or finished, install hardware completely to ensure proper fit, remove and store until finishing is complete, and then re-install.

.4	Drill and countersink units which are pre-prepared for anchorage of fasteners. Space fasteners and anchors to manufacturer's recommendations. Use only fasteners supplied by hardware manufacturers

.5	Install hardware to heights and centres as indicated in hardware schedule, as reviewed by the Province.

.6	Protect doors and frames from damage due to installation of hardware.

3.2	INSTRUCTION

.1	Instruct user's personnel in:

.1	Proper care, cleaning and general maintenance of hardware.

.2	Operation of key control system. Make periodic checks during warranty period to ensure functional efficiency of the system.

3.3	HARDWARE SCHEDULE

SPEC NOTE:  Add hardware schedule under this heading.  Specify hardware using non-proprietary method with hardware designations from the applicable reference standards.  Do not specify product manufacturer’s names and numbers. Where possible, group together doors, cabinets, and closets, requiring same hardware.  Indicate keying and other specific requirements.  For major projects, where there are more than ten groups, use hardware groups. For small projects, use groups or complete hardware list as required.  Following list is provided as an example only.

.1 	Double Doors 100, 112: (each set)

6 Hinges A5111, NRP, 114 x 101 mm, 630

1 Deadlock E0151, MK and KA, 630

2 Flush bolts, L04081, 626

1 Dustproof strike, L04021, 626

2 Pulls J401, [size]

2 Push plates J301, [size]

2 Closers CO2021, parallel arm mounting

.2 	Doors 106, 132, 141: (each)

3 Hinges, A8111, 114 x 101 mm, 646

1 Mortise classroom lockset, function F05, MK and KD, 630

1 Wall stop, L02101, 619

1 Kickplates, 203 mm high, door width less 38 mm, 630

SPEC NOTE: Following examples are for hardware groups. Applicable group numbers must be specified on the door schedule for appropriate doors.

.3 	Hardware Group No. 1:

6 Hinges, A5111, NRP, 114 x 101 mm, 630

1 Deadlock, E0151, GMK, 630

2 Flush bolts, L04081, 626

1 Dustproof strike, L07021, 626

2 Pulls with plates, J405, (size)

2 Push plates, J301, (size)

2 Closers, C02011, hinge side mounting

1 Threshold, length to match opening width.

2 Door bottom seals, surface mount.

.4 	Hardware Group No. 2:

3 Hinges, A8111, 114 x 101 mm, 646

1 Bored classroom lockset, function F84, MK and KD, 626

1 Wall stop, L0201, 619

1 Kickplates, 203 mm high, door width less 38 mm, 630

.5 	Hardware Group No. 3:

3 Hinges, A8111, 114 x 101 mm, 646

1 Preassembled classroom lockset, function F42, MK and KD, 626

1 Floor stop, L02141, 619

1 Kickplates, 203 mm high, door width less 38 mm, 630

# END OF SECTION