Section Cover Page

Section 08 81 05 2014-11-01 Glazing

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to produce a "Section of work" specifying the glazing work which is normally the responsibility of a separate glass and glazing subcontractor.  Eg. Include in this Section detailed glass installation requirements for glass in hollow metal doors, hollow metal frames, demountable partitions, glass balustrades; etc.  Refer to Alberta Construction Tendering System (ACTS) Definitions for the scope of work that the glass and glazing subcontractor is normally responsible for.

Do not use this Section to specify glazing work which is normally the responsibility of the supplier of a particular framing system.  Specify the detailed glass installation requirements for such framing systems together with the specifications for such systems.  Eg. Specify the detailed glazing requirements for aluminum entrances and storefronts in Section 08 41 13; for aluminum windows in Section 08 51 13; etc.

Note that on some projects (eg. where the types of components noted in 1. above are not being used) this Section may not be required at all.

Do not use this Section to specify glass and glazing products or general requirements for glazing which may be common to several framing systems.  Specify these requirements in  Section 08 81 00 - Glass and Glazing General Requirements, which is referenced by this Section.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Intent

1.2	Section Includes

1.3	Related Work Specified in Other Sections

1.4	Reference Documents

1.5	Submittals

1.6	Delivery, Storage and Handling

2.	Products

2.1	Glass Products

3.	Execution

3.1	Glazing

3.2	Glass Schedule

LEED Notes:

Refer to Section 01 35 18 – LEED Requirements for:

.1	Requirements necessary to obtain points for certification.

.2	Confirmation of LEED prerequisites and credits affecting this Section.  Not all are mandatory for certification.

Maintain built-in sustainability regardless of LEED requirements for:

.1	Erosion and sedimentation controls.

.2	Building and site efficient use of water.

.3	Building commissioning

.4	Energy reducing materials, assemblies and equipment

.5	Use non-toxic materials.

.6	Installation of green energy.

.7	Recycling, reuse of materials, components and assemblies.

.8	Diversion of construction waste from landfills.

.9	Use of recycled materials, local materials, rapidly renewable and durable materials.

.10	Maintain healthy indoor environment during constructing.

.11	Provide for thermal comfort, access to views and daylight for indoor spaces.

.12	Foster innovation into facility design and planning.

LEED Credits:

1.	Energy and Atmosphere

-	Credit 1 – Optimize Energy Performance

2.	Materials & Resources

-	Credit 2 - Construction Waste Management

-	Credit 4 - Recycled Content

-	Credit 5 - Regional Materials

3.	Indoor Environmental Quality

-	Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

-	Credit 4.2 - Low-Emitting Materials: Paints and Coating

4.	Innovation and Design Process

-	Credit 1.1-1.4 – Innovation in Design

1.	General

1.1	INTENT

.1	Read this Section in conjunction with:

.1	Glass and Glazing General Requirements:	Section 08 81 00.

1.2	SECTION INCLUDES

.1	This Section includes requirements for the following:

SPEC NOTE:  Ensure that this Section includes all glazing work which is normally the responsibility of the glass and glazing subcontractor.  Edit list to suit.

.1	Glazing of hollow metal doors.

.2	Glazing of hollow metal frames.

.3	Glazing in demountable partitions.

.4	Glazing of balustrades.

.5	Glass smoke and sprinkler baffles.

.6	[                                       ].

.7	[                                       ].

.8	[                                       ].

1.3	RELATED Work Specified in Other SECTIONS

.1	[LEED Requirements	Section 01 35 18.]

.2	[Waste Management and Disposal	Section 01 74 19.]

.3	Aluminum Entrances and Storefronts:	Section 08 41 13.

.4	Aluminum Windows:	Section 08 51 13.

.5	Glass and Glazing General Requirements	Section 08 81 00.

.6	Mirror Glass:	Section 08 83 13.

.7	[                     ]:	Section [             ].

1.4	reference Documents

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED requirements and sustainable practices.

.1	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.2	South Coast Air Quality Management District (SCAQMD), California State (SCAQMD):

| .1 | SCAQMD Rule 1168-05 | Adhesives and Sealants Applications |
| --- | --- | --- |

1.5	submittals

.1	Product Data:

.1	Submit manufacturer’s printed product literature, specifications and data sheets in accordance with Section 01 33 00 Submittal Procedures.

SPEC NOTE:  Use below paragraph for LEED projects when submittals are required.

.2	Sustainable Design Submittals:

.1	LEED Submittals: Submit documentation in accordance with Section 01 35 18 – LEED Requirements.  Submit documentation for the following:

.1	Materials & Resources

.1	Credit 2 - Construction Waste Management: Divert [50%] [75%] from Landfill

.2	MR Credit 4 - Recycled Content: [10%] [20%] (post-consumer + ½ pre-consumer)

.3	MR Credit 5 - Regional Materials: [20%] [30%] Extracted and Manufactured Regionally

.2	Indoor Environmental Quality

.1	IEQ Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

.2	IEQ Credit 4.2 - Low-Emitting Materials: Paints and Coating

1.6	Delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 – Management and Disposal.

2.	Products

2.1	GLASS PRODUCTS

.1	Glass, Glazing and Sealing Compounds, and Glazing Accessories:  as specified in Section 08 81 00.

3.	Execution

3.1	GLAZING

.1	Glaze components required to be glazed under the work of this Section in accordance with general requirements for glazing specified in Section 08 81 00 and detailed requirements specified herein.

SPEC NOTE:  Select and specify an appropriate glazing system for each component which is to be glazed as part of the work of this Section, ie. all components listed under 1.2.1.  Do not rely on Section 08 81 00 to specify all glazing requirements; Section 08 81 00 specifies only general glazing requirements applicable to all glazing systems

.2	Glaze [interior] [and] [exterior] hollow metal doors as follows:

.1	Apply butyl tape to fixed stop, back 2 mm from sight line.

.2	Remove release tape and press glass into place.

.3	Apply butyl tape to removable stop, remove release tape and secure stops in place.

.4	Ensure adequate thicknesses of glazing tape to secure glass in place and prevent glass from rattling.

.3	Glaze [interior] [and] [exterior] hollow metal frames as follows:

.1	Same as hollow metal doors.

OR

.1	[                                                   ].

.2	[                                                   ].

.3	[                                                   ].

.4	Glaze [                      ] as follows:

.1	[                                                   ].

.2	[                                                   ].

.3	[                                                   ].

3.2	GLASS SCHEDULE

| Glass Type | Thickness | Locations |
| --- | --- | --- |
| Clear float glass | [ ]mm | [ ] [ ] [ ] |
| Clear wired safety glass | [ ]mm | [ ] [ ] [ ] |
| Clear laminated safety glass | [ ]mm | [ ] [ ] [ ] |
| Insulating glass unit IGI | [ ]mm | [ ] |
| [ ] | [ ]mm | [ ] |

SPEC NOTE:  Use the above format to schedule glass types, thicknesses and locations, for all components required to be glazed under the work of this Section (as listed under 1.2.1).  Do not include in this Schedule glass which is normally supplied and installed by the supplier of the framing system.

SPEC NOTE:  Coordinate glass types specified in Schedule with product specifications in Section 08 81 00 - Glass and Glazing General Requirements.

SPEC NOTE:  If the work of this Section includes insulating glass units, incorporate such units into the Schedule by referencing the unit designation only, eg. "IG1", "IG2", etc.  Ensure that the composition (ie. glass type, thickness, airspace, etc.) of each required insulating glass unit is specified in the Insulating Glass Schedule in Section 08 81 00.

END OF SECTION