Section Cover Page

Section 09 23 00 2014-11-01 Gypsum Plastering

Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify interior gypsum and interior portland cement plaster.

Specify walls and partitions receiving gypsum board to at least one side in Section 09 29 00 - Gypsum Board.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Related Sections

1.2	Reference Documents

1.3	Submittals

1.4	Delivery Storage and Handling

2.	Products

2.1	Materials

2.2	Mixing and Proportioning

3.	Execution

3.1	Application

3.2	Tolerances

3.3	Curing

1.	General

1.1	RELATED SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16]

.2	[LEED Requirements	Section 01 35 18]

.3	[Environmental Procedures	Section 01 35 20]

.4	Waste Management and Disposal	Section 01 74 19.

.5	Caulking and sealing:	Section 07 92 00.

.6	Metal door frames:	Section 08 12 13.

.7	Furring and lathing for plaster:	Section 09 22 10.

.8	Gypsum wallboard:	Section 09 29 00.

.9	Vinyl wall coverings:	Section 09 72 16.

.10	Painting:	Section 09 91 05.

.11	Light fixture frames and plaster rings:	Section [           ].

1.2	REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM C28/C28M-00(2005) | Standard Specification for Gypsum Plasters |
| --- | --- | --- |
| .2 | ASTM C35-01(2005) | Standard Specification for Inorganic Aggregates for Use in Gypsum Plaster |
| .3 | ASTM C196-00(2005) | Standard Specification for Expanded or Exfoliated Vermiculite Thermal Insulating Cement |
| .4 | ASTM C841-03 (2008)e1 | Standard Specification for Installation of Interior Lathing and Furring |
| .5 | ASTM C842-05 | Standard Specification for Application of Interior Gypsum Plaster |

.2	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.3	Canadian Standards Association (CSA):

| .1 | CAN/CSA-A8/A5/A362-93 | Portland Cement / Masonry Cement / Blended Hydraulic Cement |
| --- | --- | --- |

1.3	submittals

.1	Product Data:

.1	Submit manufacturer’s printed product literature, specifications and data sheets in accordance with Section 01 33 00 - Submittal Procedures.

.2	Submit [two] [         ] copies of Workplace Hazardous Materials Information System (WHMIS) Material Safety Data Sheets (MSDS) in accordance with Section [01 33 00 - Submittal Procedures] [           ]. Indicate VOCs.

.2	Samples:

.1	Comply with requirements of Division 01.

.2	Submit duplicate 300 mm x 300 mm samples of [textured] [applied] [spray applied] finishes for approval.

1.4	delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 – Management and Disposal.

2.	Products

2.1	MATERIALS

.1	Gypsum Materials:  to ASTM C28/C28M.

.2	Acoustic Plaster Aggregate:  Expanded vermiculite to ASTM C196, weighing 120 kg/m3 to 240 kg/m3.

.3	Portland Cement:  to CAN/CSA-A8/A5/A362, [white] [grey.]

2.2	MIXING AND PROPORTIONING

.1	Gypsum Plaster:  to ASTM C28/C28M.

.2	Portland Cement Plaster:  Scratch, brown and finish coats - one part Portland cement; 3 1/2 to 4 parts sand; not more than 25% by volume lime putty.

3.	Execution

3.1	APPLICATION

.1	Apply gypsum plaster to ASTM C842, of type and finish [indicated on drawings] [as scheduled].

SPEC NOTE:  Increase total thickness of base coats, where applicable, to meet fire rating design requirements.  Ensure type of finish [float or trowel] is indicated on drawings.

.2	Where plaster finish is flush with bases, window frames, glazed wall tile panels or similar construction, groove back finish coat at intersection, to prevent chipping.

.3	Cut base coats free of bucks, frames and grounds to allow for movement.  Cut plaster free of electrical outlet boxes and other openings.

.4	Apply cement plaster in 3 coats, similar to gypsum plaster.  Damp cure scratch and brown coats for 24 hours.  Minimum thickness 22 mm.

3.2	TOLERANCES

.1	Keep all smooth plaster finish surfaces level and plumb to contact a 3 m straight edge with maximum 3 mm variation either way.

3.3	CURING

.1	Cure cement plaster for minimum period of 4 days after application.  Moisten as soon as plaster has hardened sufficiently.  Apply water in a fine fog spray.

.2	Apply only as much water as will be readily absorbed.  Protect plaster from uneven and excessive evaporation during hot, dry weather, and from wind.

END OF SECTION