Section Cover Page

Section 09 51 13 2014-11-01 Acoustic Unit Ceilings

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

This Master Specification Section contains:

.1	This Cover Page

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Product Options and Substitutions

1.4	Submittals

1.5	Delivery, Storage, and Handling

2.	Products

2.1	Material

3.	Execution

3.1	Job Environment

  - Installation

  - Expansion Joints

  - Cleaning

LEED Notes:

If the project is not a designated LEED project, but is following sustainable building practices, specify that adhesives meet SCAQMD Rule #1168 and architectural coating products meet SCAQMD Rule #1113.

LEED Credits:

Contribution towards LEED credits in this section may apply as follows:

1.	LEED Credit MR 4: Recycled Content. Ceiling tile products often contain recycled material. Steel components such as metal suspension system specified under this section will also apply. Fibrous acoustic insulation products often contain recycled material.

The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent, (10% and 20%) of the total value of the materials in the project. The LEED Reference Guide allows a default value of 25% post-consumer content for steel.  Claims above 25% for steel will require documentation from the manufacturers. For ceiling tiles, recycled content varies between types of tiles and each manufacturer of ceiling tile products will have their own claim of recycled content. Each manufacturer of acoustic insulation products will have their own claim of recycled content, and that often varies depending upon location of manufacturing facility.

2.	LEED Credit EQ 4.1 Low-Emitting Materials: Sealants and Adhesives. Both sealants and adhesives specified under this section apply.

In order to obtain EQ 4.1, VOC content in sealants and adhesives used on inboard side of the “weatherproofing system” must be less than the VOC content limits of the State of California’s South Coast Air Quality Management District (SCAQMD) Rule #1168, June 2006. Product data and/or LEED letters from manufacturers are required for verification.

1.	General

1.1	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16.]

.2	[LEED Requirements	Section 01 35 18.]

.3	[Environmental Procedures	Section 01 35 20.]

.4	Waste Management and Disposal	Section 01 74 19.

.5	Acoustical metal decking:	Section [           ].

.6	Rough Carpentry:	Section 06 10 00.

.7	Access panels:	Section [           ].

.8	Diffuser grilles:	Section [           ].

.9	Lighting fixtures:	Section [           ].

1.2	refernce documents

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM C423-09a | Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method |
| --- | --- | --- |
| .2 | ASTM E1264-08 | Standard Classification for Acoustical Ceiling Products |
| .3 | ASTM D1779-98 (2004) | Standard Specification for Adhesive for Acoustical Materials |
| .4 | ASTM C636/C636M-08 | Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels |

.2	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.3	Canadian Standards Association (CSA):

| .1 | CSA B111-1974 (R2003) | Wire Nails, Spikes and Staples |
| --- | --- | --- |

.4	South Coast Air Quality Management District (SCAQMD), California State:

| .1 | SCAQMD Rule 1168, June 2006, Adhesives and Sealants Applications |
| --- | --- |

1.3	PRODUCT OPTIONS AND SUBSTITUTIONS

.1	Refer to Division 1 for requirements pertaining to product options and substitutions.

1.4	Submittals

.1	Product Data:

.1	Submit manufacturer’s printed product literature, specifications and data sheets in accordance with Section 01 33 00 Submittal Procedures.

.2	Samples:

.1	Submit duplicate samples of each component of acoustical systems for approval.  Include accessories and mitered interior and exterior corners of wall mouldings.

SPEC NOTE:  Specify .2 where special acoustical treatment or building shape occurs.

.2	Install sample panel and components including suspension system at a location designated by the Province.

.3	Sustainable Design Submittals:

SPEC NOTE: Use the following paragraph when LEED Submittals are required.

.1	LEED Submittals: Submit documentation in accordance with Section 01 35 18 – LEED Requirements.  Submit documentation for the following:

.1	Materials & Resources:

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.1	MR Credit 4 - Recycled Content: [10%] [20%] (post-consumer + ½ pre-consumer)

.2	Indoor Environmental Quality:

SPEC NOTE: Delete LEED submittal item below if project is not to attain LEED certification or if Credit EQ 4.1 Low Emitting Materials: Adhesives and Sealants is not being sought. If project is to follow sustainable building practices but not attaining LEED certification, delete references to LEED and retain SCAQMD Rule #1168 as a sustainable submittal.

.1	EQ Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

1.5	Delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 – Management and Disposal.

2.	Products

2.1	MATERIAL

.1	Acoustic Units:  [mineral base] [glass fiber base] panels conforming to ASTM E1264.

Pattern:  [     ]

Flame spread classification of:  [     ]

Smoke Producing rate of:  [     ]

Size:  [     ] x [     ] x [     ] thick [Square] [Bevelled] edge, [     ] colour

Specify as minimum:

NRC-Noise Reduction Coefficient Range of [     ]

CAC-Ceiling Attenuation Class of [     ]

LRC-Light Reflectance Coefficient of [     ]

Fire endurance rating of complete floor-and-ceiling of roof-and-ceiling assembly of [     ] hours.

SPEC NOTE:  Specify following for Open Plan ceilings.

AC-Articulation Class of [     ], minimum

.2	Acoustic Tile Units:  with adhesive/mechanical installation conforming to ASTM D1779.

Type:  [     ]

Pattern:  [     ]

Flame Spread Classification of [     ]

Smoke Producing Rating of [     ]

Size:  [     ] x [     ] x [     ] thick [Square] [Bevelled] edge [     ] colour.

NRC-Noise Reduction Coefficient Range of [     ]

CAC-Ceiling Attenuation Class of [     ]

LRC-Light Reflectance Coefficient of [     ]

.3	Metal Pan Acoustic Unit:  conforming to ASTM E1264.

Type:  [     ]

Pattern:  [     ]

Flame spread classification of:  [     ]

Smoke Reducing Rating of:  [     ]

Size:  [     ] x [     ] x [     ] thick [Square] [Bevelled] edge, [     ] colour.

NRC-Noise Reduction Coefficient Designation of [     ]

CAC-Ceiling Attenuation Class of [     ]

LRC-Light Reflectance Coefficient of [     ]

Fire endurance rating of complete floor-and-ceiling or roof-and-ceiling assembly of [     ]hours.

.4	Linear Acoustic Ceiling:  conforming to ASTM E1264.

Type:  XIII [Perforated] [Non-Perforated]

Flame spread classification of [     ]

Smoke producing rating of [     ]

NRC-Noise reduction coefficient range of [     ]

LRC-Light reflective coefficient of [     ]

SPEC NOTE: Delete the following VOC content limit restriction if project is not to attain LEED certification or if Credit EQ 4.1 is not being sought, or if sustainable building practices are not being followed.

.5	Adhesive:  conforming to ASTM D1779 [having VOC content less than the VOC limits of State of California’s South Coast Air Quality Management District Rule #1168, June 2006.]

.6	Staples, nails and screws:  conforming to CSA B111.

.7	Suspension System:  Non-fire rated [exposed tee bar grid] [concealed tee spline] concealed tee access spline] [concealed T & G runner] [concealed H runner, tee spline and flat steel spline] [concealed zee runner and flat steel spline] [metal pan special tee system] including wall moulding.

SPEC NOTE:  Specify fire resistance of system by Underwriters Laboratories of Canada design number and rating eg:  [3 hour ULC design No. C150.

.8	Suspension System:  Fire rated to [     ] hour ULC design [     ], exposed T bar grid including wall mounting, blue steel retainer clips.

SPEC NOTE:  Use clause below for lay-in grid system only.

.9	Suspension System Components:  [commercial quality cold rolled steel zinc coated] [aluminum sheet, alloy No. 5005, mill finish, etched] [shop painted satin sheen, white] [anodized aluminum, clear] die cut interlocking components main and cross tee of double web with rectangular bulb depth governed by span all components 25 mm exposed face.

.10	Hangers:  2.6 mm steel wire galvanized.

.11	Suspension Accessories:  Splices, clips, retainers, etc. to complement suspension system components.

.12	Fibrous Acoustical Media:   thickness to achieve minimum Noise Reduction Coefficient of [          ] in accordance with ASTM C423.

3.	Execution

3.1	JOB ENVIRONMENT

.1	Commence installation after building enclosed and dust generating activities completed.

.2	Permit wet work to dry prior to commencement of installation.

.3	Maintain uniform minimum temperature of 15°C and humidity of 20-40% prior to, during and after installation.

3.2	INSTALLATION

SPEC NOTE:  Use this clause for acoustic units adhered or anchored directly to substrate.

.1	Ensure substrate surface is level to within ±3 mm in 3 m.

.2	Install adhesive bonded acoustic units to clean, dry, firm and level surface.

.3	Ensure suspended system is coordinated with location of related components.

.4	Install acoustic units parallel to building lines with edge unit not less than 50% of unit width.  [Refer to reflected ceiling plan.]

.5	Scribe acoustic units to fit adjacent work.  Butt joints tight, [terminate edges with moulding.]

.6	Support suspension system main runners at 1.2 m on centre maximum with hanger wire from building structural system.  Completed assembly to support all superimposed loads.  Maximum permissible deflection is 1/360 of span.

.7	[Interlock] [Attach] cross member to main runner to provide rigid assembly.

.8	Install suspension assembly to manufacturers written instructions.

.9	Install fibrous acoustical media over entire area above [suspended metal pans] [linear metal ceilings].

.10	Install flush edge moulding at junction of acoustic unit ceiling and other materials around entire length of joint.  Secure to construction.  Butt joints neatly, square and true in alignment.

.11	Install framed access panels supplied under Divisions [     ] and 26.

.12	Seal vertical air plenum closure and acoustical ceiling where ventilating ceiling occurs.  Use vinyl tape and 100 micrometre polyethylene to make positive, continuous seal.

.13	Electrical fixtures shall be supported by the main runners and cross runners, but in addition to this the acoustical Subcontractor shall supply and install to each and every fixture a 2.6 mm galvanized soft annealed mild steel wire hangers within 150 mm of each corner.  Fixtures exceeding 610 mm x 1220 mm shall be supported by other Subcontractors responsible to the General Contractor.

.14	Runners supporting ceiling fixtures shall remain horizontal across their width within 2 degrees after the fixture loads are imposed.

.15	Do not install acoustic units until work above suspension system is complete and has been inspected by Province.

3.3	EXPANSION JOINTS

SPEC NOTE:  Use either .1 or .2 as applicable.

.1	Erect two main runners parallel, [25 mm] [50 mm] apart, on building expansion joint line.  Lay in strip of acoustic tile/board, painted black, 25% narrower than tight fit.

.2	Supply and install "U" shaped metal trim pieces at each side of expansion joint.  Design to accommodate ±25 mm movement and maintain visual closure.  Finish metal components to match adjacent metal trim.  Provide backing plates behind butt joints.

3.4	CLEANING

.1	Keep acoustic installation and all components clean.  Remove blemishes immediately.

END OF SECTION