Section Cover Page

Section 09 84 14 2014-11-01 Tensioned Fabric Acoustical System with Concealed Track

Use this section to specify an acoustical system that has a semi-rigid acoustical core with a covering fabric that is tensioned or stretched into a concealed track.  This allows for custom sizes and shapes.

Contribution towards LEED credits in this section may apply as follows:

1.	LEED Credit Materials and Resources MR 4.1(7.5%) and MR 4.2(15%): Recycled Content. Fibrous acoustic insulation products often contain recycled material.

The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent, (7.5% and 15%) of the total value of the materials in the project.

2.	LEED Credit IEQ 4.1 Low-Emitting Materials: Sealants and Adhesives.

In order to obtain Indoor Environmental Quality, IEQ 4.1, VOC content in sealants and adhesives used on inboard side of the “weatherproofing system” must be less than the VOC content limits of the State of California’s South Coast Air Quality Management District (SCAQMD) Rule #1168, June 2006. Product data and/or LEED letters from manufacturers are required for verification.

3.	LEED Credit IEQ 4.4 Low-Emitting Materials: Composite Wood and Agrifiber Products

Products such as fiberboard must not contain any added urea-formaldehyde. Documentation about the product is required for verification.

Refer to LEED Requirements – Section 01 35 18 for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

If the project is not attaining a LEED rating, but is following sustainable building practices, specify that sealant and adhesive products meet SCAQMD Rule #1168. Also specify that the fiberboard product (if specified) must not contain any added-urea formaldehyde.

This Master Specification Section contains:

.1	This Cover Page

.2	Specification Section Text:

1.	General

1.1	Summary

1.2	References

1.3	Administrative Requirements

1.4	Submittals

1.5	Closeout Submittals

1.6	Maintenance Material Submittals

1.7	Quality Assurance

1.8	Delivery, Storage, and Handling

1.9	Site Conditions

1.10.	Warranty

2.	Products

2.1	Manufacturers

2.2	Material

2.3	Acoustic Wall System Types

2.4	Accessories

3.	Execution

3.1	Installation

  - Cleaning

  - Schedule

Applicable Standards

.1	ASTM C423-09a, 	Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

.2	ASTM D1779-98(2004)	Standard Specification for Adhesive for Acoustical Materials

.3	ASTM E84-10b	Standard Test Method for Surface  Burning Characteristics for Building Materials

.4	CAN/CSA A247-M86(R1996)	Insulating Fiberboard

.5	CAN/ULC S102-10	Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies

.6	CAN/ULC S102.2-10	Method of Test for Surface Burning Characteristics of Flooring, Floor Coverings, and Miscellaneous Materials and Assemblies

.7	CAN/ULC S109-03	Flame Tests of Flame Resistant Fabrics and Films

.8	CAN/ULC S702-09	Standard for Thermal Insulation Mineral Fibre for Buildings

.9	CSA B111-1974 (R2003)	Wire Nails, Spikes and Staples

1.	General

1.1	summary

.1	Related Requirements:

.1	[LEED Requirements	Section 01 35 18]

.2	[Environmental Procedures	Section 01 35 20]

.3	Waste Management and Disposal	Section 01 74 19

.4	Rough Carpentry	Section 06 10 00

.5	Finish Carpentry	Section 06 20 00

.6	Gypsum Board	Section 09 29 00

.7	Acoustic Unit Ceilings	Section 09 51 13

.8	Vinyl Coated Fabric Wall Coverings	Section 09 72 16

.9	Painting and Finishing General Requirements	Section 09 91 05

1.2	REFERENCES

.1	Reference Standards:

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	American Society for Testing and Materials (ASTM International)

.1	ASTM C423-09a, Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

.2	ASTM D1779-98 (2004), Standard Specification for Adhesive for Acoustical Materials

.3	ASTM E-84-10b, Standard Test Method for Surface  Burning Characteristics for Building Materials

[.2	Canada Green Building Council (CaGBC)

.1	LEED Canada – For New Construction and Major Renovations. LEED Canada – current version with addenda. Website: www.cagbc.org]

.3	Canadian Standards Association (CSA International)

.1	CAN/CSA A247-M86(R1996), Insulating Fibreboard

.2	CSA B111-1974 (R2003), Wire Nails, Spikes and Staples

[.4	South Coast Air Quality Management District (SCAQMD), California State

.1	SCAQMD Rule 1168, June 2006, Adhesives and Sealants Applications]

.5	Underwriters Laboratories of Canada (ULC)

.1	CAN/ULC S102-10, Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies.

.2	CAN/ULC S102.2-10, Method of Test for Surface Burning Characteristics of Flooring, Floor Coverings, and Miscellaneous Materials and Assemblies

.3	CAN/ULC S109-03, Flame Tests of Flame Resistant Fabrics and Films

.4	CAN/ULC S702-09, Standard for Thermal Insulation Mineral Fibre for Buildings.

1.3	ADMINISTRATIVE REQUIREMENTS

.1	Coordination: coordinate with the track manufacturer for confirmation of compatibility of fabric with the track system. Submit 300 mm x 300 mm sample of fabric plus fabric specifications including name of manufacturer, width of fabric, style number and colour to the track manufacturer.

1.4	Submittals

.1	Product Data:

SPEC NOTE: Delete the sentence that requires the submittal regarding verification of no added urea-formaldehyde when LEED Submittal for the fiberboard product is not required or the product is not being specified.

.1	Submit manufacturer’s printed product literature, specifications and data sheets in accordance with Section 01 33 00 Submittal Procedures. [Submittal must include a statement verifying that fibreboard product does not contain any added urea-formaldehyde.]

.2	Samples:

.1	Submit 300 mm x 300 mm samples of each style of acoustical wall system for approval.  Mount samples to 12. 5 mm thick painted plywood substrate.

.3	Sustainable Design Submittals:

SPEC NOTE: Use the following paragraph when LEED Submittals are required.

.1	LEED Submittals: Submit documentation in accordance with Section 01 35 18 – LEED Requirements.  Submit documentation for the following:

.1	Materials & Resources:

SPEC NOTE: Delete LEED submittal items below as appropriate for products specified.

.1	MR Credit 4.1 - Recycled Content: 7.5% (post-consumer + ½ post-industrial)

.2	MR Credit 4.2 - Recycled Content: 15% (post-consumer + ½ post-industrial)

.3	MR Credit 7.0 – Certified Wood: FSC Chain of Custody.

.2	Indoor Environmental Quality:

SPEC NOTE: Delete LEED submittal items below if project is not to attain LEED certification or if Credit IEQ 4.1 and/or Credit IEQ 4.4  is not being sought. Delete Credit IEQ 4.4 if the fiberboard product is not specified.

.1	IEQ Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

.2	IEQ Credit 4.4 – Low Emitting Materials: Composite Wood and Agrifiber Products.

1.5	CLOSEOUT SUBMITTALS

.1	Submit fabric cleaning instructions for insertion into the Operation and Maintenance Manual in accordance with Section 01 78 23 Operation and Maintenance Data and Manuals.

1.6	MAINTENANCE MATERIAL SUBMITTALS

.1	Provide [      ] lineal metres of fabric on factory roll in width, type colour and pattern of each type specified.

.2	Place in location as directed by Province.

1.7	QUALITY ASSURANCE

.1	Regulatory Requirements: Provide acoustical wall systems with the following surface burning characteristics as determined by testing identical products in accordance with CAN/ULC S102, CAN/ULC S102.1, CAN/ULC S109, ASTM E84 or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify acoustical wall systems with appropriate markings of applicable testing and inspecting agency, for the following criteria:

.1	Flame Spread: 25 or less.

.2	Smoke Developed: 450 or less.

SPEC NOTE:  For projects of significant size or complexity and requiring special attention to acoustic performance, consider specifying mock-up.

.2	Mock-Ups:

.1	Construct one representative mock-up of each type of acoustical wall system and install in location as directed.

.2	Allow [24] hours for inspection of mock-up by Province before proceeding with work.

.3	When accepted, mock-up will demonstrate minimum standard for this work. Mock-up may [not] remain as part of finished work.

1.8	Delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 – Management and Disposal.

1.9	SITE CONDITIONS

.1	Ambient Conditions: Install acoustical systems only when building is fully enclosed and HVAC system is operational; maintain manufacturer’s recommended temperature and humidity conditions in the area of installation for 24 hours before, during and after installation.

.2	Do not install acoustical wall system fabric until the following conditions have been met:

.1	Wet work is complete and dry.

.2	Painting, flooring and wall base has been installed.

.3	Adjacent work including, in part Architectural Woodwork, Masonry, Doors and Frames, Hardware, Gypsum Drywall, Plastering, Wall Covering, Painting, Ceiling Grid, and Electrical Work is complete.

.4	Permanent lighting is in place and operational.

1.10	WARRANTY

.1	Provide manufacturer’s warranty for a two year period following Substantial Performance of the Work for defects in materials, workmanship and/or fabric sagging.

2.	Products

2.1	manufacturers

.1	Acceptable Materials Manufacturers - manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

.1	Acousti-Trac Acoustic Panel System

.2	Fabri-Trak Systems Inc.

.3	Fabra-Wall Acoustic Systems: Griptex System

.4	Western Noise Control BOSS Systems

.2	Product Options and Substitutions:

.1	Refer to Division 1 for requirements pertaining to product options and substitutions.

2.2	MATERIAL

.1	Track System:  Rigid, fire retardant, vinyl or PVC framework with clamping jaws, one piece sections capable of holding fabric to profiles indicated on drawings without slippage or puckering.

.2	Underlay Material:  thickness to match track system profile depth.

.1	Acoustic: thickness to achieve specified Noise Reduction Coefficient in accordance with ASTM C423 and of the following properties:

.1	Polyester padding.

.2	Fiberglass acoustic board to CAN/ULC S702.

SPEC NOTE:  In the following subparagraphs .2 and .3, delete the sentences pertaining to urea-formaldehyde if the project is not attaining LEED certification of Credit IEQ 4.4 is not being sought. Delete the sentence below pertaining to FSC Certification if the project is not attaining LEED certification or Credit MR7 is not being sought.

.2	Tacking: compressed cellulosic fiberboard to CAN/CSA A247, Type III. [Product must not contain any added urea-formaldehyde.][Product shall be FSC Certified].

.3	Combination - acoustic and tacking:

.1	[Polyester padding and compressed cellulosic fiberboard to CAN/CSA A247, Type III.] [Product must not contain any added urea-formaldehyde.][Fiberboard product shall be FSC Certified].

.2	[Fiberglass acoustic board to CAN/ULC S702 and compressed cellulosic fiberboard to CAN/CSA A247, Type III.] [Fiberboard product must not contain any added urea-formaldehyde.][Fiberboard product shall be FSC Certified].

.3	Provide fabric as follows:

SPEC NOTE:  Insert as many types as there are for different types/colours of fabric. Insert fabric Type into 2.3 Acoustic Wall System Types below.

.1	Type A:

.1	Manufacturer: [      ].

.2	Width of fabric: [     ].

.3	Style number: [as scheduled][     ].

.4	Colour:[as scheduled][     ].

.2	Type B:

.1	Manufacturer: [      ].

.2	Width of fabric: [     ].

.3	Style number: [as scheduled][     ].

.4	Colour:[as scheduled][     ].

2.3	ACOUSTIC WALL SYSTEM TYPES

SPEC NOTE:  Create one Type for each system that is different from the next with respect to track system and underlay system.  Insert Type into Schedule.

.1	Type 1: NRC [     ]

.1	Track System:

.1	Profile Size: [as indicated on drawings][25] wide x [9.5 mm][12.5 mm][19 mm][25 mm][29 mm]32 mm][50 mm] deep.

.2	Profile shape: [square][radius][bevel].

.2	Underlay System:

SPEC NOTE: Select one of the following underlay system for Type 1 system.

.1	[Polyster padding].

.2	[Fiberglass acoustic board, minimum density of [   ]].

.3	[Tacking; fiberboard].

.4	[Combination tacking and acoustic:[polyester padding and fiberboard][fiberglass acoustic board, minimum density of [    ] and fiberboard].

.3	Size and shape: [as indicated on drawings][[     ] x [     ] mm].

.4	Fabric type: [A][B].

.2	Type 2: NRC [     ]

.1	Track System:

.1	Profile Size: [as indicated on drawings][25] wide x [9.5 mm][12.5 mm][19 mm][25 mm][29 mm]32 mm][50 mm] deep.

.2	Profile shape: [square][radius][bevel].

.2	Underlay System:

SPEC NOTE: Select only one of the following underlay system for Type 1 system.

.1	Polyester padding

.2	Fiberglass acoustic board, minimum density of [   ].

.3	Tacking; fiberboard.

.4	Combination tacking and acoustic:[polyester padding and fiberboard][fiberglass acoustic board, minimum density of [    ] and fiberboard].

.3	Size: [as indicated on drawings][[     ] x [     ] mm].

.4	Fabric type: [A][B].

2.4	ACCESSORIES

SPEC NOTE: Delete the following VOC content limit restriction if project is not to attain LEED certification or if Credit IEQ 4.1 is not being sought, or if sustainable building practices are not being followed.

.1	Adhesive:  to ASTM D1779, water-resistant, compatible with contacting materials[having VOC content less than the VOC limits of State of California’s South Coast Air Quality Management District Rule #1168].

.2	Fasteners: to CSA B11, 19 mm divergent staples, gauge as determined by manufacturer of PVC track.

3.	Execution

3.1	INSTALLATION

.1	Ensure substrate surface is level to within ±3 mm in 3000 mm.

.2	Field measure each wall area to receive acoustical or tackable treatment to establish the exact layout of the units as shown on elevations.

.3	Secure the framework with adhesive and special, heavy duty diverging staples located not more than 50 mm on center.  Other fasteners may be used for specific substrates, provided they are in accordance with the manufacturer's printed instructions.

.4	Install framework plumb and straight, flush in proper alignment.

.5	Install acoustic core neatly within the perimeter of the PVC framework, and as follows:

.1	Use full sheets and ensure that butt joints are flush and do not telegraph through fabric face.

.2	Fasten acoustic core and underlayment to wall surface in accordance with manufacturers standard installation practices.

.6	Install shims around outlet boxes, receptacles, and other penetrations that occur in fabric area; install securely with cover plates mounted flush on fabric surface.

.7	Cut fabric from each roll marking and maintaining sequence of drops and matching direction of weave for sequential and uniform installation.

.8	Stretch fabric over PVC framework and insert into the jaw of the extrusion using appropriate tools.

.9	Fabric to be squared and even, concealing the PVC extrusion.

.10	After fabric is stretched over framework, trim edges and insert remaining salvage material fully into jaws of the PVC extrusion.

.11	Fabric shall be stretched tautly, evenly and smoothly and be free of defects and flaws.

.12	No stapling or gluing of fabric to core or channels permitted.

.13	Penetrations through the face of fabric of any kind (i.e. staples, nails, etc.) will be prohibited.

.14	Z-Clip, Velcro or glued installation techniques do not meet the intent of this specification.

.15	Sewn seams of any type (thread or ultra sonic welds) do not meet the intent of this specification.

3.2	CLEANING

.1	Keep acoustic installation and components clean.  Remove blemishes immediately.

.2	Cleaning: Clean exposed surfaces of acoustical wall systems in accordance with manufacturer’s recommendations and as follows:

.1	Trim and remove loose threads.

.2	Remove surplus materials, rubbish and debris resulting from installation and leave areas of installation in a neat, clean condition.

.3	Touch up minor finish damage; remove and replace work which cannot be successfully cleaned and repaired to eliminate evidence of damage.

.3	Protection: Protect installed work from damage due to subsequent construction activity, including temperature and humidity limitations and dust control, so that the work will be without damage and deterioration at the time of Substantial Performance of the Work.

3.3	SCHEDULE

SPEC NOTE:  Edit or delete schedule if, respectively, some or all variables are indicated on drawings.

| System Type | Location |
| --- | --- |
| [1] | [ ] |
| [2] | [ ] |

# END OF SECTION