Section Cover Page

Section 11 13 13 2011-08-24 Loading Dock Bumpers

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Submittals

1.4	Waste Management and Disposal

2.	Products

2.1	Materials

3.	Execution

3.1	Installation

LEED Notes:

N/A

LEED Credits:

Contribution towards potential LEED credits may be available in this section:

.1	LEED Credit MR 4: Recycled Content.

.1	The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent(10% and 20%) of the total value of the materials in the project. Rubber componeN/Ants have some recycled content and will contribute to the overall recycled content of components in the building. The manufacturers will be able to provide information on the content of recycled rubber in their product.

2.	LEED Credit MR 5: Regional Materials.

.1	If fabricated regionally, products specified will apply towards this credit. The contractor will be required to submit documentation consisting of cost, weight, transportation service and distance the material has travelled to the construction site.

1.	General

1.1	RELATED Work Specified in Other SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16]

.2	[LEED Requirements	Section 01 35 18]

.3	Waste Management and Disposal	Section 01 74 19.

1.2	REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org] |
| --- | --- | --- |

1.3	Submittals

.1	Comply with requirements of Division 01.

.2	Submit product data describing size, construction, anchors, and finish.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.3	LEED Submittals: submit LEED submittal forms for Credit MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation identifying quantity by weight of recycled content in products.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 5 is not being sought.

.4	LEED Submittals: submit LEED submittal forms for Credit MR 5 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Regional Materials: provide evidence that project incorporates required percentage [20] [30] % of regional materials/products, showing their cost, distances from extraction to manufacture and manufacture to project site, and total cost of materials for project.

1.4	waste management and disposal

.1	Separate and recycle waste materials in accordance with Section 01 74 19 Waste Management and Disposal and with the Waste Reduction Workplan.

2.	Products

2.1	MATERIALS

.1	Bumpers:  fabric reinforced rubber pads, 100 mm thick x  [     ] high x [     ] long, fabricated with two 22 mm bars welded to steel end angles 75 x 60 x 10 mm.  All steel supports galvanized.

.2	Hardware:  19 mm diameter galvanized bolts and expansion shields.

3.	Execution

3.1	INSTALLATION

.1	Install dock bumpers as detailed at loading dock areas.

.2	[Bolt angle end frames securely to concrete].  [Weld angle and frames to steel dock frame and touch up weld with zinc oxide primer].

END OF SECTION